****

International Energy Conservation Code

HVACR Subcommittee

Meeting Minutes for June 6, 2022

Subcommittee Chair: John Hensley

Subcommittee Vice-Chair: Ricardo Madrid

1. Call to order. The meeting was called to order at 11:05 AM EST
2. Meeting Conduct. Chair John Hensley provided an overview of Council Policy 7 and Code of Ethics
3. Roll Call – Vice Chair Ricardo Madrid

Committee members in attendance: (13 in attendance, 3 absent)

In attendance; Chair John Hensley, Vice-chair Ricardo Madrid, Jennifer Amann, Gary Heikkinen, Mary Koban, Mark Lyles, Chris Perry (alt), David Bixby, Patricia Graef, Gary Klein, Dean Potter, Kevin Rose, Sonny Richardson.

Not in attendance; Helen Walter (alt), Jeremy Williams, Donald Thomas

ICC staff in attendance; Kris Stenger

Chair Hensley moved to add REPI 99-21, Proponent Kevin Rose and David Baylon to the agenda. Mary Koban makes motion to accept, Gary Klein seconded. All in favor.

1. Proponent Dan Wildenhaus presented REPI-142-21 SEHPCAC recommendations, Dan explained that this proposal was already passed by subcommittee and todays review was for SEHPCAC recommendations only. Wildenhaus explained the recommendations version 5 in regards to minor language recommendations to the hot water distribution credit. Mary Koban motions to disapprove SEHPCAC recommendations, Sonny Richardson seconded. The chair opened the floor for discussion. Considerable discussion from the group. Mary Koban call the question. Dean Potter seconded. 12-0-0. The chair moved to vote to disapprove as motioned by Koban and seconded by Richardson. 5-6-0 Gary Klein motions to approve SEHPCAC recommendations, Kevin Rose seconded. 6-5-0, motion passed.
2. David Bixby presented REPI-84-21 by proponent Robby Schwarz. Bixby clarified that REPI 84-21 was discussed at the last meeting and was modified. Schwarz explained REPI-86 includes everything the REPI-84 is doing and 84 is a backup to 86. Schwarz is asking subcommittee to pass 84 as backup for backup at consensus committee in case of 86 fails. Schwarz explained the proposal in detail in regards to the air handling unit not in conditioned spaces and the testing of duct systems. Gary Klein made a motion to approved. Mary Koban seconded. The Chair opened the floor for discussion. Group discussion. The chair opened the floor to vote. 6-5-0

1. Proponent Patricia Chawla presented REPI 138 -21 as modified and explained the modification that aligned with original proposal. The original proposal was an update for units from EF to UEF for water heating systems and also to align the numbers to energy star. Chawla explained the proposal in detail. Gary Klien made a motion to approve as original proposal and not modified, Chris Perry seconded, The Chair opened the floor for discussion. Considerable group discussion. The Chair opened the floor to vote, 5-6-0. David Bixby made motion to approve the visible screen showing AHRI proposal as a committee proposal, Sonny Richardson seconded, the proponent Patricia Chawla did not accept. 6-3-2. Motion carries. The Chair opened the floor for the REPI- 138-21 original proposal. Mary Koban motioned to disapprove original 138-21, David Bixby seconded. 6-4-0 Kris Stenger stated the committee proposal will be RECPI-10-21.

1. Diana Burk representing NBI presented REPI 17-21 for Proponent Kim Cheslak, explained the proposal in detail in regards to require all residential buildings to be full electric ready. Sonny Richardson made a motion to disapprove due to not being complete, Gary Heikkenen seconded, the Chair opened the floor for discussion. Considerable group discussion. The Chair opened the floor for vote. 6-4-0

1. Alexi Miller with NBI presented REPI 71-21 for Proponent Kim Cheslak, Miller explained that this proposal was modified and was developed in coordination with AHRI and DOE and in parallel with REPI 70-21 and CEPI-99-21 in regards with demand responsive thermostat or hvac controls. Miller explained the proposal in detail. Mary Koban made motion to approve as amended, Mark Lyles seconded. The Chair opened the floor for discussion. After discussion Mary Koban stated she would approve changing motion to adding a friendly amendment, The Chair opened the floor for vote. 10-0-0

1. Diana Burk representing NBI presented REPI-155-21 for Proponent Kim Cheslak, and explained the original proposal was to require all residential electric in the net zero in a new appendix. Burk explained the proposal in detail. Mark Lyles made a motion to approve as modified, Jennifer Amann seconded. The Chair opened the floor for discussion. Sonny Richardson called point of order due to not seeing this proposal with enough time to study. Kris Stenger explained we can vote on what is discussed or this can be tabled. The Chair opened the floor for more group discussion. Group discussion. The Chair opened the floor to vote. 4-6-0. Gary Heikkenen made a motion to disapprove, Sonny Richardson seconded. 6-4-1
2. Due to time constraint, the Chair moved REPI 99--21 to the next meeting.
3. Upcoming Meeting; June 14,2022
4. Meeting adjourned.