## Sheet1
Proposal number | Code Change # | Results | Public Comments | Position | Testifyer | Section | Topic | Notes
| ADM003-22 Part 1 and 2 | D/ D |  |  |  | IEBC: [A] 101.2; IRC: R101.2 | monitor | clarification of IRC scope which could effect small group homes and day care
| ADM004-22 Part 1 and 2 | D/ D |  |  |  | IEBC: [A] 101.2; IRC: R101.2 | monitor | clarification of IRC scope which could effect small group homes and day care
| ADM47-22 | D |  |  |  |  | monitor | Not applicable to Group I - why Group I-1 and I-4
| EB010-22 | D |  |  |  | IEBC: 302.6 (New), 302.6.1 (New), 302.6.2 (New) |  | More of Mr. Bonowitz’s Risk Category changes – concern is with the Current Risk Category proposal. How do you change part of an existing building?
| EB023-22 | AM |  |  |  | 306.6 | clarification of Type B units – altered or added | improvement to clarify if an area is changed to sleeping units vs. addition
HC1 | EB032-22 | AM |  |  |  | 308.1 | IEBC BCAC 30 Carbon monoxide detectors | Joint with FCAC and BCAC
| EB043-22 | AM |  |  |  | IEBC: SECTION 406, 406.1, 406.1.1 (New), 406.1.1, 406.1.2, 406.1.3, 406.1.4, 406.1.5 | Modification to 406.1.2 - Portions of elecrical systems and equipement being repair or reconditioned in Group I-2… John will work on modification, but back in front of BCAC. | Reconditioned Electrical Equipment – although this might be considered out of our scope since they are not modifying the Health Care Facilities section – it could still impact us though since some AHJ’s could decide the NEC would take precedence. Will need to look at this one carefully. Would NFPA 70 prohibit reconditioned equipment? NFPA 99 allows this for medical equipment. This is also an issue with Group I-1. Would this be fixed by the 2023 edition of NFPA 70.
| EB047-22 | AM | AMPC | D | Jonathan, Jeff | 502.1.1, 1101.3 | Risk category – what happens for facilities that have been kicked up in the risk category – See S74-S78 | What happens to buildings that have been kicked up in Risk Category tables?
| EB048-22 | AS | D | D | Jonathan, Jeff | 502.1.1, 1101.2 | Risk category – what happens for facilities that have been kicked up in the risk category – See S74-S78 | The IEBC already has mechanisms that addresses this. This has language that is not clear and will create interpretations issues. What happens to buildings that have been kicked up in Risk Category tables?
HC6 | EB056-22 | AS |  |  |  | IEBC: 502.5 (New), 1101.4 (New) | CHC Addition for Group I-1
| EB065-22 | AS |  |  |  | IEBC: [BS] 503.5, [BS] 906.3 |  | requiring supports and attachments for non-structural components serving any portion of the building in Risk Category IV to comply with Section 1613 which requires “Every structure, and portion thereof, including nonstructural components that are permanently attached to structures and their supports and attachments…”; this is asking for more than IBC requirements; could be read to apply to the entire system 'serving' the space
| EB066-22 | AS |  |  |  | IEBC: [BS] 503.11, [BS] 906.2 |  | similar to above but for Seismic Design Cat D or E
| EB067-22 | AM | AMPC | None | Jonathan, Jeff | 506.5.3, 1006.3 | Risk category – what happens for facilities that have been kicked up in the risk category – See S74-S78 Hospital in reason | Could be an issue for existing buildings based on interpretation of EB47 (existing buildings has a COO if you add an addition) – seismic an wind loads?
HC3 | EB071-22 | AS |  |  |  | IEBC: SECTION 202 (New), 503.15, 804.11 | CHC Ambulatory care definitions
HC8 | EB072-22 | AS |  |  |  | IEBC: 503.16 (New), 503.16.1 (New), 902.2 (New), 902.2.1 (New) | CHC upgrade/declare a condition for existing I-1 occupancies
HC5 | EB073-22 | AS |  |  |  | IEBC: 503.16 (New), 902.3 (New) | CHC Ambulatory care Level 3
| EB075-22 | AS |  |  |  | IEBC: 506.5.3, [BS] 1006.3 |  | similar to EB65 & EB66
| EB087-22 | AS |  |  |  | IEBC: 804.11 (New), 804.12 (New), 804.10, 804.10.1, 804.10.2, 804.12, 804.12.1, 804.12.2, 804.11 |  | may not be an issue since the Group I-1, I-2 and I-3 occupancies section is not being modified just renumbered. Still need to take a close look at the added language for stairways and handrails.
HC7 | EB095-22 | AS |  |  |  | IEBC: 1002.3 | CHC COO for Group I-1
HC4 | EB098-22 | AS | D | AS | Jonathan, Jeff | 1011.5.1 | CHC occupied roof (guards) | Issue for existing buildings that want to add an outdoor space (federal and state licensing requirement) on the roof for patients and having high guards would ‘add a story’ for height limitations. Fire and evacuation plans robust; familiarity of fire department with building; limited scope; needed for suicide prevention.
| EB101-22 | AS |  |  |  | IEBC: 1011.8.2 | testify if needed | Change of supply source allowance for limited area sprinkler systems; issue for doctor's offices
HC2 | EB116-22 | AM | AMPC |  | Jonathan, Jeff | New IEBC appendix | BCAC IEBC 28 Appendix for emergency operations | Joint with FCAC and BCAC Important to address emergency situations – good guidance. PC is editorial.
| EB64-22 | AM | [5 empty] | what is the date - permit, COO, alteration date?
| EB67-22 | AM |  |  |  | IEBC 503.12, 706.3.2, C201.1 |  | Effects Group I-1 and R-4
| G002-22 | D | AMPC | D | Jonathan, Jeff, Bill | Definition of life safety components |  | does not add any clarity
| RB004-22 | D |  |  |  | IRC: R101.2 | monitor | clarification of IRC scope which could effect small group homes and day care
| RB005-22 | AM |  |  |  | IRC: R101.2 | BCAC will be speaking against; monitor | clarification of IRC scope which could effect small group homes and day care
| S009-22 | AM |  |  |  | IBC: SECTION 202, [BS] 1404.16, [BS] 1404.18, 1504.6, 1504.9; IBC: TABLE 1504.9; IBC: 1507.1.1, TABLE 1507.1.1(1), TABLE 1507.1.1(2), TABLE 1507.1.1(3), 1507.16.8, 1602.1, 1603.1, 1603.1.4, TABLE 1604.3, 1609.1.1, TABLE 1609.2, 1609.2.2, 1609.3, 1609.3.1, TABLE 1609.3.1, 1705.12, 2304.6.1, TABLE 2304.10.2, TABLE 2308.7.5, 2404.1, 2404.2, 2404.3.1, 2404.3.3, 2404.3.5, 2405.5.2 |  | wind-borne debris regions; prefer S62
| S062-22 | AM |  |  |  | Definition of wind borne debris, 1609 | wind load changes - see definition for Healthcare | no change in defintion
| S062-22 | AM |  |  |  | IBC: CHAPTER 2, SECTION 202, SECTION 202 (New), CHAPTER 15, SECTION 1504, TABLE 1504.2, 1504.6, CHAPTER 16, SECTION 1602, 1602.1, SECTION 1609, 1609.1.1, 1609.3, FIGURE 1609.3(1), FIGURE 1609.3(2), FIGURE 1609.3(3), FIGURE 1609.3(4), FIGURE 1609.3(5), FIGURE 1609.3(6), FIGURE 1609.3(7), FIGURE 1609.3(8), FIGURE 1609.3(9), FIGURE 1609.3(10), FIGURE 1609.3(11), FIGURE 1609.3(12), 1609.3.1, TABLE 1609.3.1 |  | wind-borne debris regions
| S074-22 | AS | 3 PC – AMPC; AS; D | D | Jonathan, Jeff | Table 1604.5 | risk category - Group I-2 | Ask for S74 and S77 to be heard after S78 Support PC for D Committee was split. “where loss of function represents a substantial hazard to occupants” – too open for interpretation for nursing homes and hospitals This is an emotional argument – not anything based on identified need. Affects short stay facilities and micro-hospitals without emergency rooms. Healthcare has extensive safety and evacuation plans. Agreements with other facilities for support. Licensure and emergency plans already in place – don’t need this to be addressed in additional seismic and wind requirements in buildings. This proposal does not deal with evacuation requirements that have happened due to power loss or flooding. This is not going to resist a tornado – that is hyper local – so you could evacuate residents to another building. In hurricanes – you can determine ahead of time to evacuate. PC1 changes occupant load allowance for Category 2 to 4 for nursing facilities between 17 and 50. Typical nursing homes start at 40 residents. Using the occupant load for Group R-4 is not reasonable. This is less than 0.2% of nursing homes.
| S075-22 | AS | 2 PC – AS; D | D | Jonathan, Jeff | Table 1604.5 | descriptor for Group I-2 in category 4 | Committee was split. “where loss of function represents a substantial hazard to occupants” – too open for interpretation for ambulatory care and hospitals currently in category 4.
| S076-22 | AM | 15 PC – 2-AM; 13-D | D | Jonathan, Jeff | Table 1604.5 | descriptor for Group I-2 in category 4 | Committee was split. “where loss of function represents a substantial hazard to occupants” – too open for interpretation for ambulatory care and hospitals currently in category 4.
| S077-22 | D | AMPC | D | Jonathan, Jeff | Table 1604.5 | risk category - Group I-1 | Ask for S74 and S77 to be heard after S78 Support committee for D “where loss of function represents a substantial hazard to occupants” – too open for interpretation for ambulatory care and hospitals currently in category 4. The reason statement says these facilities are all for profit and do not care about their residents. This is kicking up Group I-2, Condition 2 from Category 2 to 4 without justification. The reason talks about loss of water and power, but this does not address that.
| S078-22 | AM | AMPC | D | Jonathan, Jeff | Table 1604.5 | Group F and M to Risk Category IV; plus issue with added description | Support committee for D “where loss of function represents a substantial hazard to occupants” – too open for interpretation for ambulatory care and hospitals currently in category 4.
| S116-22 | AM | 4 PC - AMPC | ? | Jonathan, Jeff | Varies | Temporary Uses for 1 year Hospital in reason | Jonathan to review