FIRST PUBLIC REVIEW DRAFT

OCTOBER 25, 2013

ICC/ANSI A117.1 STANDARD

DEVELOPMENT - 2014 EDITION

CLOSING DATE FOR PUBLIC COMMENTS

MONDAY, DECEMBER 9, 2013

ICC A117.1 Standard – Accessible and Usable Buildings and Facilities

First Public Review Draft

October 25, 2013

This is the First Public Review Draft of the 2014 edition of the ICC A117.1 Standard.

This draft contains changes to the 2009 edition which have been approved by the A117.1 Standard Committee.  Only the actual changes to the standard are shown.  The background to each change and how the change fits into the balance of the standard are not shown in this document.

Please note:

Where there are multiple changes to the same section, each approved change will be integrated into the standard so that all changes are reflected.   The First Public Review Draft – Supplement, listed below is an unofficial merging of the approved changes into the Standard.

Figures common to the published standard are not included in the First Public Review Draft.   Figures are illustrative of the text of the standard.  They will be revised and included in the published standard.

For further information please see the following documents:

1.  First Public Review Draft Background Report.

2.  First Public Review Draft – Supplement.

For these items, please go to:  www.iccsafe.org/A117

Providing Public Comment.

Comments will be accepted through December 9, 2013.  Comments must be provided on the ICC Standards Public Comment Form.  Comments will only be accepted on the changes which have been approved by the Committee and are included in this document.  Comments unrelated to any of the following changes will be set aside for consideration after the 2014 edition is published.

Each change is numbered based on the number established when proposals were received.  Please indicate this number on the Public Comment Form.   If you have questions, please direct them to Kermit Robinson, krobinson@iccsafe.org

Closing Date for Public Comments – Monday, December 9, 2013.

# Chapter 1

# 1-1 – 12

Add new text as follows:

101 Title

These technical criteria shall be known as Accessible and Usable Buildings and Facilities, hereinafter referred to as ‘this standard’.

# 1-4 – 12

Revise as follows:

102 Human Factor Anthropometric  Provisions. The technical criteria in this standard are based on body sizes and functional abilities of adults and, in some sections, children.  They provide minimum conditions of accessibility.  adult dimensions and anthropometrics. This standard also contains technical criteria based on children’s dimensions and anthropometrics for drinking fountains, water closets, toilet  compartments, lavatories and sinks, dining surfaces, work surfaces and benches.

# 1-5 – 12

Revise as follows:

104.2 Dimensions. Dimensions that are not stated as “maximum” or “minimum” are absolute. All dimensions are subject to conventional industry tolerances.

104.2 Dimension tolerances.  All dimensions are subject to conventional industry tolerances except where the requirement is as a range with stated minimum and maximum end points.

# 1-7– 12

Add new text as follows:

104.2 Calculation of Percentages. Where the determination of the required size or dimension of an element or facility involves ratios or percentages, rounding down for values less than one half shall be permitted.

# 1-8 – 12

Revise as follows:

105.2.1 Manual on Uniform Traffic Control Devices: MUTCD-2003 2009 (The Federal Highway Administration, Office of Transportation Operations, Room 3408, 400 7th Street, S.W., Washington, DC 20590).

105.2.2 National Fire Alarm and Signaling Code: NFPA 72-2007 2010 (National Fire Protection Association, 1 Batterymarch Park, Quincy, MA 02269-9101).

105.2.4 Power Operated Pedestrian Doors: ANSI/ BHMA A156.10-2005  2011(Builders Hardware Manufacturers’ Association, 355 Lexington Avenue, 15th Floor, New York, NY 10017).

105.2.6 Safety Standard for Platform Lifts and Stairway Chairlifts: ASME A18.1-2005  2011 (American Society of Mechanical Engineers International, Three Park Avenue, New York, NY 10016-5990).

Delete text as follows:

105.2.8 Standard Specification for Impact Attenuation of Surface Systems Under and Around Playground Equipment ASTM F 1292-99. (ASTM International, 100 Barr Harbor Drive, PO Box C700, West Conshohocken, PA, 19428-2959).

# 1-9 – 12

Revise as follows:

105.2.5 Safety Code for Elevators and Escalators: ASME A17.1- 2007 2013/CSA B44-07 13 (American Society of Mechanical Engineers International, Three Park Avenue, New York, NY 10016-5990).

# 1-10 – 12

Revise or add the following definitions:

106.5 Defined terms

assembly area.  A building or facility, or portion thereof, used for the purpose of entertainment, worship, educational or civic gatherings, or similar purposes.  For the purposes of these requirements, assembly areas include, but are not limited to, classrooms, lecture halls, courtrooms, public meeting rooms, public hearing rooms, legislative chambers, spaces utilized for viewing motion picture projections, auditoria, theaters, playhouses, dinner theaters, concert halls, centers for the performing arts, amphitheaters, arenas, stadiums, grandstands, places of religious worship or convention centers.

assistive listening system (ALS).  An amplification system utilizing transmitters, receivers, and coupling devices to bypass the acoustical space between a sound source and a listener by means of induction loop, radio frequency, infrared, or direct-wired equipment.

place of religious worship.  A building or a portion thereof intended for the performance of religious services.

space.  A definable area, such as a room, toilet room, hall, assembly area, entrance, storage room, alcove, courtyard, or lobby.

transition plate.  A sloping pedestrian walking surface located at the ends of a gangway.

vehicular way.  A route provided for vehicular traffic, such as in a street, driveway, or parking facility.

# Chapter 2

# There are no changes proposed for Chapter 2.

# Chapter 3

# 3-2 – 12

Revise as follows:

302.1 General. Floor surfaces shall be stable, firm, and slip resistant, and shall comply with Section 302. Changes in level in floor surfaces shall comply with Section 303.

EXCEPTIONS:

1. 	Within animal containment areas not exempted by Section 1101.2.1, floor and ground surfaces shall not be required to be stable, firm, and slip resistant.

2. 	Within areas of sports activity exempted in Chapter 11, the floor and ground surfaces shall not be required to comply with this section.

303.1 General. Changes in level in floor surfaces shall comply with Section 303.

EXCEPTIONS:

- Animal containment areas not exempted by Section 1101.2.1 shall not be required to comply with this section.

2. 	Within areas of sports activity exempted in Chapter 11, the changes in level shall not  be required to comply with this section.

# 3-4 – 12

Revise as follows:

303 Changes in Level

303.1 General. Changes in level in floor surfaces shall comply with Section 303.

303.2 Vertical. Changes in level of 1 /4 inch (6.4 mm) maximum in height shall be permitted to be vertical.

303.3 Beveled. Changes in level greater than 1/4 inch (6.4 mm) in height and not more than 1/2 inch (13 mm) maximum in height shall comply with one of the following:

- The change in level shall be beveled with a slope not steeper than 1:2.

- The change in level shall be a combination of vertical change in level of ¼ inch (6.4 mm) maximum below a bevel with a slope not steeper than 1:2.

# 3-6 – 12

Revise as follows:

304.3.1 Circular Space. The turning space shall be a circular space with a 60- 67 inch (1525 1700 mm) minimum diameter. The turning space shall be permitted to include knee and toe clearance complying with Section 306.

# 3-6B – 12

Revise as follows:

Table 407.4.1—Minimum Dimensions of Elevator Cars

| Door Location | Door Clear Opening Width | Inside Car, Side to Side | Inside Car, Back Wall to Front Return | Inside Car, Back Wall to Inside Face of Door |
| --- | --- | --- | --- | --- |
| Centered | 42 inches (1065 mm) | 80 inches (2030 mm) | 51 inches (1295 mm) | 54 inches (1370 mm) |
| Side (Off Center) | 36 inches (915 mm)1 | 68 inches (1725 mm) | 51 inches (1295 mm) | 54 inches (1370 mm) |
| Any | 36 inches (915 mm)1 | 54 inches (1370 mm) | 80 inches (2030 mm) | 80 inches (2030 mm) |
| Any | 36 inches (915 mm)1 | 60 inches (1525 mm)2 | 60 inches (1525 mm)2 | 60 inches (1525 mm)2 |

1A tolerance of minus 5/8 inch (16 mm) is permitted.

2Other car configurations that provide a 36-inch (915mm) door clear opening width and a 60 inch (1525 mm) turning diameter space complying with Section 304 with the door closed are permitted.

# 3-6C – 12

Revise as follows:

502.4.2 Width.  Access aisles serving car and van parking spaces shall be 60 67 inches (1525 1700 mm) minimum in width.

# 3-6D – 12

Revise as follows:

503.3.2 Width. Access aisles serving vehicle pull-up spaces shall be 60 67 inches (1525 1700 mm) minimum in width.

# 3-6E – 12

Revise as follows:

804.2.2 U-Shaped Kitchens. In kitchens enclosed on three contiguous sides, clearance between all opposing base cabinets, countertops, appliances, or walls within kitchen work areas shall be 60 67 inches (1525 1700 mm) minimum.

# 3-8 – 12

Revise as follows:

304.3.1 Circular Space. The turning space shall be a circular space with a 60-inch (1525 mm) minimum diameter. The turning space shall be permitted to include knee and toe clearance complying with Section 306.  Where the turning space includes knee and toe clearances under an obstruction, the overlap shall comply with all of the following:

1. The depth of the overlap shall not be more than 10 inches (255 mm), and

2.  The depth shall not exceed the depth of the knee and toe clearances provided, and

3. The overlap shall be permitted only within the turning circle area shown shaded in Figure 304.3.1.

Figure 304.3.1

# 3-9 – 12

Revise as follows:

304.3.2 T-Shaped Space.  The turning space shall be a T-shaped space within a 60-inch (1525 mm) minimum square with arms and base 36 inches (915 mm) minimum in width.  Each arm of the T shall be clear of obstructions 12 inches (305 mm) minimum in each direction, and the base shall be clear of obstructions 24 inches (610 mm) minimum.  The turning space shall be permitted to include knee and toe clearance complying with Section 306 only at the end of either the base or one arm.

304.3.2 T–Shaped Space. The turning space shall be a T–shaped space complying with one of the following:

- A T-shaped space, clear of obstruction, that fits within an area 68 inches (1730 mm) wide and 60 inches (1525 mm) deep, with two arms and one base that are all 36 inches (915 mm) minimum in width.  Each arm shall extend 16 inches (405 mm) minimum from each side of the base located opposite the other, and the base shall extend 24 inches (610 mm) minimum from the arms.  At the intersection of each arm and the base, the interior corners shall be chamfered for 8 inches (205 mm) minimum along both the arm and along the base.

- A T-shaped space, clear of obstruction, that fits within an area 64 inches (1625 mm) wide and 60 inches (1525 mm) deep, with two arms 38 inches (965 mm) minimum in width and a base 42 inches (1065 mm) minimum in width.  Each arm shall extend 11 inches (280 mm) minimum from each side of the base, located opposite the other, and the base shall extend 22 inches (560 mm) minimum from each arm.

- A T-shaped space, clear of obstruction, that fits within an area 64 inches (1625 mm) wide and 60 inches (1525 mm) deep, with two arms and one base 40 inches (1015 mm) minimum in width.  Each arm shall be 16 inches (405 mm) minimum in each direction from the base and the base shall extend 24 inches (610 mm) minimum from each arm.

# 3-13 – 12

Revise as follows:

305.3 Size. The clear floor space shall be 48 inches (1220 mm) 52 inches (1320 mm) minimum in length and 30 inches (760 mm) minimum in width.

305.7.2 Forward Approach. Where the clear floor space is positioned for a forward approach, the alcove shall be 36 inches (915 mm) minimum in width where the depth exceeds 24 20 inches (610 508 mm).

# 3-13B – 12

Revise as follows:

409.4.1 Inside Dimensions. Elevator cars shall provide a clear floor area 36 inches (915 mm) minimum in width and 48 52 inches (1220 1322 mm) minimum in depth.

# 3-13C – 12

Revise as follows:

410.5.1 Lifts with Single Doors or Doors on Opposite Ends.  Platform lifts with a single door or doors on opposite ends shall provide a clear floor width of 36 inches (915 mm) minimum and a clear floor depth of 48 52 inches (1220 1322 minimum).

Exception:  Incline platform lifts with passenger restraining arms, shall be permitted to provide a clear floor width of 36 inches (915 mm) minimum and a clear floor depth of 48 inches (1220) mm.

# 3-13D – 12

Revise as follows:

802.5.1 Overlap. A wheelchair space location shall not overlap the required width of an aisle.

Exception: The depth of the wheelchair space shall be permitted to overlap the required aisle width a maximum of 4 inches (100 mm).

# 3-13E – 12

Revise as follows:

802.7.2 Companion Seat Alignment. In row seating, the companion seat shall be located to provide shoulder alignment with the wheelchair space occupant. The shoulder of the wheelchair space occupant is considered to be 36 inches (915 mm) from the front or 12 16 inches (305 405 mm) from the rear of the wheelchair space. The floor surface for the companion seat shall be at the same elevation as the wheelchair space floor surface.

# 3-13F – 12

Revise as follows:

805.2.2 Dimensions. Bus stop boarding and alighting areas shall have a 96 100-inch (2440 2540 mm) minimum clear length, measured perpendicular to the curb or vehicle roadway edge, and a 60-inch (1525 mm) minimum clear width, measured parallel to the vehicle roadway.

# 3-13H – 12

Revise as follows:

1107.3.2 Golf Club Reach Range Area.  All areas within holes where golf balls rest shall be within 36 inches (915 mm) maximum of a clear floor space 36 inches (915 mm) minimum in width and 48 52 inches (1220 mm) minimum in length complying with Section 305 having a running slope not steeper than 1:20. The clear floor space shall be served by an accessible route.

# 3-13K – 12

Revise as follows:

1109.2.3 Clear Deck Space. On the side of the seat opposite the water, a clear deck space shall be provided parallel with the seat. The space shall be 36 inches (915 mm) minimum in width and shall extend forward 48 52 inches (1220 1320 mm)  minimum from a line located 12 inches (305 mm) behind the rear edge of the seat. The clear deck space shall have a slope not steeper than 1:48.

# 3-13L – 12

Add new text as follows:

1004.3.3 Clear Floor Space. For the purposes of Type B units, the clear floor space shall be 48 inches (1220mm) minimum in length and 30 inches (760 mm) minimum in width.

Revise as follows:

1004.9 Operable Parts. Lighting controls, electrical switches and receptacle outlets, environmental controls, electrical panelboards, and user controls for security or intercom systems shall comply with Sections 309.2 and 309.3 and 1004.3.3.

EXCEPTIONS:

(No change to the exceptions)

1004.10.1 Clear Floor Space. A clear floor space complying with Section 305.3 1004.3.3 shall be provided. A parallel approach shall be provided for a top loading machine.  A forward or parallel approach shall be provided for a front loading machine.

1004.11.2 Clear Floor Space. Clear floor spaces required by Section 1004.11.3.1 (Option A) or 1004.11.3.2 (Option B) shall comply with Sections 1004.11.2 and 305.3 1004.3.3.

1004.11.2.1 Doors. Doors shall not swing into the clear floor space or clearance for any fixture.

EXCEPTION: Where a clear floor space complying with Section 305.3 1004.3.3, excluding knee and toe clearances under elements, is provided within the room beyond the arc of the door swing.

1004.11.3.1.1 Lavatory. A clear floor space complying with Section 305.3 1004.3.3, positioned for a parallel approach, shall be provided at a lavatory. The clear floor space shall be centered on the lavatory.

EXCEPTION:

A lavatory complying with Section 606 and 1004.3.3 shall be permitted.  Cabinetry shall be permitted under the lavatory provided the following criteria are met:

(a) The cabinetry can be removed without removal or replacement of the lavatory; and

(b) The floor finish extends under the cabinetry; and

(c) The walls behind and surrounding the cabinetry are finished.

1004.12.2 Clear Floor Space. Clear floor space at appliances shall comply with Sections 1004.12.2 and 305.3 1004.3.3.

# 3-20 – 12

Revise as follows:

308.2.1 Unobstructed. Where a forward reach is unobstructed, the high forward reach shall be 48 inches (1220 mm) maximum and the low forward reach shall be 15 23 inches (380 585 mm) minimum above the floor.

# 3-21 – 12

Revise as follows:

308.2.2 Obstructed High Reach. Where a high forward reach is over an obstruction, the clear floor space complying with Section 305 and knee and toe clearance complying with Section 306 shall extend beneath the element for a distance not less than the required reach depth over the obstruction. The high forward reach shall be 48 inches (1220 mm) maximum above the floor where the reach depth over the obstruction is 20 inches (510 mm) maximum. Where the reach depth over the obstruction is more than exceeds 20 inches (510 mm) and 25 inches (635 mm) or less, the high forward reach shall be 44 inches (1120 mm) maximum above the floor, and the reach depth shall be 25 inches (635 mm) maximum.

3-23 – 12

Revise as follows:

308.3.1 Unobstructed. Where a clear floor space complying with Section 305 allows a parallel approach to an element and the edge of the clear floor space is 10 inches (255 mm) maximum from the element, the high side reach shall be 48 inches (1220 mm) maximum and the low side reach shall be 15 inches (380 mm) minimum above the floor.

EXCEPTIONS:

1.	Existing elements that are not altered shall be permitted at 54 inches (1370 mm) maximum above the floor.

2. 	Operable parts on fuel dispensers installed on an existing curbs shall be permitted at 54 inches (1370 mm) maximum above the floor.

# 3-24 – 12

Revise as follows:

308.3.1 Unobstructed. Where a clear floor space complying with Section 305 allows a parallel approach to an element and the edge of the clear floor space is 10 inches (255 mm) maximum from the element, the high side reach shall be 48 inches (1220 mm) maximum and the low side reach shall be 15 inches (380 mm) minimum above the floor.

EXCEPTIONS:

1.	Existing elements that are not altered shall be permitted at 54 inches (1370 mm) maximum above the floor.

2. 	Mailboxes serving Type B dwelling units and complying with Section 1001.2 shall be permitted a high reach range at 54 inches (1370 mm) maximum above the floor.

# 3-27 – 12

Add new text as follows:

309.1 General. Operable parts required to be accessible shall comply with Section 309.

EXCEPTIONS:

1.	Receptacle outlets serving a dedicated use.

2.	Where two or more receptacle outlets are provided in a kitchen above a length of counter top that is uninterrupted by a sink or appliance, one receptacle outlet shall not be required to comply with 309.

3.	Floor receptacle outlets.

4.	HVAC diffusers.

5.	Controls mounted on ceiling fans.

6.	Where redundant controls other than light switches are provided for a single element, one control in each space shall not be required to be accessible.

7.	Reset buttons and shut-offs serving appliances, piping and plumbing fixtures.

# Chapter 4

# 4-2 – 12

Revise as follows:

402.2 Components. Accessible routes shall consist of one or more of the following components: Walking surfaces with a running slope not steeper than 1:20, doors and doorways, ramps, curb ramps excluding the flared sides, elevators, and platform lifts. All components of an accessible route shall comply with the applicable portions of this standard.

# 4-5 – 12

Revise as follows:

403.5 Clear width.  The clear width of an accessible route shall comply with Section 403.5.1. 403.5.2 or 403.5.3 as applicable.

403.5.1 General.  The clear width of an accessible route shall be 36 inches (915 mm) minimum.

EXCEPTION: The clear width shall be permitted to be reduced to 32 inches (815 mm) minimum for a length of 24 inches (610 mm) maximum provided the reduced width segments are separated by segments that are 48 inches (1220 mm) minimum in length and 36 inches (915 mm) minimum in width.

403.5.2 403.5.1 Clear Width at 180 Degree Turn. Where an accessible route makes a 180 degree turn around an object that is less than 48 inches (1220 mm) in width, clear widths shall be 42 inches (1065 mm) minimum approaching the turn, 48 inches (1220 mm) minimum during the turn, and 42 inches (1065 mm) minimum leaving the turn.

EXCEPTION: Section 403.5.2 403.5.1 shall not apply where the clear width during the turn is 60 inches (1525 mm) minimum.

403.5.3 403.5.2 Passing Space. An accessible route with a clear width less than 60 inches (1525 mm) shall provide passing spaces at intervals of 200 feet (61 m) maximum. Passing spaces shall be either a 60-inch (1525 mm) minimum by 60-inch (1525 mm) minimum space, or an intersection of two walking surfaces that provide a T-shaped turning space complying with Section 304.3.2, provided the base and arms of the T-shaped space extend 48 inches (1220 mm) minimum beyond the intersection.

# 4-6 – 12

Revise as follows:

403.5 Clear Width. The clear width of an accessible route shall be 36 inches (915 mm) minimum.

EXCEPTION: The clear width shall be permitted to be reduced to 32 inches (815 mm) minimum for a length of 24 inches (610 mm) maximum provided the reduced width segments are separated by segments that are 48 52 inches (1220 1320 mm) minimum in length and 36 inches (915 mm) minimum in width.

403.5.2 Passing Space. An accessible route with a clear width less than 60 inches (1525 mm) shall provide passing spaces at intervals of 200 feet (61 m) maximum. Passing spaces shall be either a 60-inch (1525 mm) minimum by 60-inch (1525 mm) minimum space, or an intersection of two walking surfaces that provide a T-shaped turning space complying with Section 304.3.2, provided the base and arms of the T-shaped space extend 48 52 inches (1220 1320 mm) minimum beyond the intersection.

# 4-7 – 12

Revise as follows:

403.5 Clear Width. The clear width of an interior accessible route shall be 36 inches (915 mm) minimum. The clear width of an exterior accessible route shall be 48 inches (1220 mm) minimum.

Exceptions:

1. 	The clear width shall be permitted to be reduced to 32 inches (815 mm) minimum for a length of 24 inches (610 mm) maximum provided the reduced width segments are separated by segments that are 48 inches (1220 mm) minimum in length and 36 inches (915 mm) minimum in width.

2.  	The clear width of an exterior ramp comply with Section 405.5.

# 4-8 – 12

Revise as follows:

403.5.1 Clear Width at 180 Degree Turn. Where an accessible route makes a 180 degree turn around an object that is less equal to or greater than 48 inches (1220 mm) in width, clear widths shall be 42 inches (1065 mm) minimum approaching the turn, 48 inches (1220 mm) minimum during the turn and 42 (1065 mm) inches minimum leaving the turn 52 inches (1320 mm) in width minimum, clear widths shall be as permitted for turn complying with 405.5.1. Where an accessible route makes a 180 degree turn around an object that is less than 52 inches (1320 mm) inches, the clear widths approaching the turn, during the turn and leaving the turn, shall be one of the following sets of dimensions:

1.	Approaching 36 inches (915 mm) minimum, during 60 inches (1525 mm) minimum, and leaving 36 inches (915 mm) minimum.

2.	Approaching 42 inches (1065 mm) minimum, during 48 inches (1220 mm) minimum, and leaving 42 inches (1065 mm) minimum.

3.	Approaching 43 inches (1090 mm) minimum, during 43 inches (1090 mm) minimum, and leaving 43 inches (1090 mm) minimum.

EXCEPTION: Section 403.5.1 shall not apply where the clear width during the turn is 60 inches (1525 mm) minimum.

# 4-9 – 12

Add text as follows:

403.5.2 Clear Width at 90 Degree Turn. Where an accessible route makes a 90 degree turn the clear widths approaching the turn and leaving the turn shall be one of the following sets of dimensions:

1. 	Both legs of the turn shall be 40 inches (1016 mm) minimum.

2.	Where the interior corners of the turn are chamfered for 8 inches (205 mm) minimum along both walls, both legs of the turn shall be 36 inches (915 mm) minimum.

4-10 – 12

Add text as follows:

403.5.3 Clear Width at 90 Degree Turn. Where an accessible route makes a 90 degree turn, the clear width shall be 40 inches (1015 mm) minimum. The width of each leg of the turn shall be maintained for 28 inches (710 mm) minimum from the inner corner.

EXCEPTIONS:

1. Where one leg of the turn is 42 inches (1065 mm) minimum in width, the other shall be permitted to be 38 inches (965 mm) minimum in width.

2. Where one leg of the turn is 44 inches (1115 mm) minimum in width, the other shall be permitted to be 36 inches (915 mm) minimum in width.

# 4-11 – 12

Revise as follows:

402.2 Components.  Accessible routes shall consist of one or more of the following components:  Walking surfaces with a slope not steeper than 1:20, doors and doorways, gates, ramps, curb ramps excluding the flared sides, elevators and platform lifts.  All components of an accessible route shall comply with the applicable portion of this standard.

404 Doors, and Doorways and Gates

404.1 General.  Doors, and doorways and gates that are part of an accessible route shall comply with Section 404.

EXCEPTION:  Doors, doorways, and gates designed to be operated only by security personnel shall not be required to comply with 404.2.3, 404.2.6, 404.2.7, 404.2.8, 404.3.2 and 404.3.4 through 404.3.6.

404.2 Manual Doors, Doorways and Manual Gates. Manual doors and doorways, and manual gates, intended for user passage including ticket gates, shall comply with Section 404.2.

EXCEPTION: Doors, doorways, and gates designed to be operated only by security personnel shall not be required to comply with Sections 404.2.6, 404.2.7, and 404.2.8.

404.2.3 Maneuvering Clearances. Minimum maneuvering clearances at doors and gates shall comply with Section 404.2.3.and shall include the full clear opening width of the doorway and the required latch side or hinge side clearance.  Required door maneuvering clearances shall not include knee and toe clearance.

404.2.3.2 Swinging Doors and Gates. Swinging doors and gates shall have maneuvering clearances complying with Table 404.2.3.2.

Fig. 404.2.3.2

Maneuvering Clearance at Manual Swinging Doors and Gates

Table 404.2.4.1 Maneuvering Clearances at Manual Swinging Doors and Gates

Table 404.2.3.2—Maneuvering Clearances at Manual Swinging Doors and Gates

| TYPE OF USE |  | MINIMUM MANEUVERING CLEARANCES |  |
| --- | --- | --- | --- |
| Approach Direction | Door or Gate Side | Perpendicular to Doorway | Parallel to Doorway (beyond latch unless noted) |
| From front | Pull | 60 inches (1525 mm) | 18 inches (455 mm) |

(Balance of table is not changes)

404.2.3.4 Doorways without Doors or Gates. Doorways without doors or gates that are less than 36 inches (915 mm) in width shall have maneuvering clearances complying with Table 404.2.3.3

Fig. 404.2.3.4

Maneuvering Clearance at Doorways without Doors or Gates

Table 404.2.3.4—Maneuvering Clearances for Doorways without Doors or Gates

| Approach Direction | MINIMUM MANEUVERING CLEARANCES Perpendicular to Doorway |
| --- | --- |
| From front | 48 inches (1220 mm) |

404.2.3.5 Recessed Doors and Gates. Where any obstruction within 18 inches (455 mm) of the latch side of a doorway projects more than 8 inches (205 mm) beyond the face of the door or gate, measured perpendicular to the face of the door, maneuvering clearances for a forward approach shall be provided.

Fig. 404.2.3.5

Maneuvering Clearance at Recessed Doors and Gates

404.2.5 Two Doors and Gates in Series. Distance between two hinged or pivoted doors or gates in series shall be 48 inches (1220 mm) minimum plus the width of any door or gate swinging into the space. The space between the doors shall provide a turning space complying with Section 304

Fig. 404.2.5

Two Doors or Gates in a Series

404.2.6 Door and Gate Hardware. Handles, pulls, latches, locks, and other operable parts on accessible doors and gates shall have a shape that is easy to grasp with one hand and does not require tight grasping, pinching, or twisting of the wrist to operate. Operable parts of such hardware shall be 34 inches (865 mm) minimum and 48 inches (1220 mm) maximum above the floor. Where sliding doors are in the fully open position, operating hardware shall be exposed and usable from both sides.

EXCEPTION: Locks used only for security purposes and not used for normal operation shall not be required to comply with Section 404.2.6.

404.2.7 Closing Speed. Door and gate closing speed shall comply with Section 404.2.8.

404.2.7.1 Door Closers and Gate Closers. Door closers and gate closers shall be adjusted so that from an open position of 90 degrees, the time required to move the door to an open position of 12 degrees shall be 5 seconds minimum.

404.2.7.2 Spring Hinges. Door and gate spring hinges shall be adjusted so that from an open position of 70 degrees, the door or gate shall move to the closed position in 1.5 seconds minimum.

404.2.8 Door and Gate Opening Force. Fire doors shall have the minimum opening force allowable by the appropriate administrative authority. The force for pushing or pulling open doors or gates other than fire doors shall be as follows:

1.Interior hinged doors and gates: 5.0 pounds (22.2 N) maximum

.

2.Sliding or folding doors: 5.0 pounds (22.2 N) maximum

These forces do not apply to the force required to retract latch bolts or disengage other devices that hold the door or gate in a closed position.

404.2.9 Door and Gate Surface. Door and gate surfaces within 10 inches (255 mm) of the floor, measured vertically, shall be a smooth surface on the push side extending the full width of the door or gate. Parts creating horizontal or vertical joints in such surface shall be within 1/16 inch (1.6 mm) of the same plane as the other. Cavities created by added kick plates shall be capped.

EXCEPTIONS:

(Exceptions 1 and 2 are not changed)

3. Doors and gates that do not extend to within 10 inches (255 mm) of the floor shall not be required to comply with Section 404.2.9.

404.2.10 Vision Lites. Doors, gates and sidelites adjacent to doors or gates containing one or more glazing panels that permit viewing through the panels shall have the bottom of at least one panel on either the door or an adjacent sidelite 43 inches (1090 mm) maximum above the floor.

(Exception is not changed)

404.3 Automatic Doors and Power-Assisted Doors and Gates. Automatic doors and automatic gates shall comply with Section 404.3. Full powered automatic doors shall comply with ANSI/BHMA A156.10 listed in Section 105.2.4. Power–assist and low–energy doors shall comply with ANSI/BHMA A156.19 listed in Section 105.2.3.

EXCEPTION: Doors, doorways, and gates designed to be operated only by security personnel shall not be required to comply with Sections 404.3.2, 404.3.4, and 404.3.5.

404.3.2 Maneuvering Clearances. Maneuvering clearances at power–assisted doors and gates shall comply with Section 404.2.3.

404.3.4 Two Doors or Gates in Series. Doors or gates in series shall comply with Section Section 404.2.5.

# 4-13 – 12

Revise as follows:

404.2.3 Maneuvering Clearances. Minimum maneuvering clearances at doors shall comply with Section 404.2.3.  Maneuvering clearances and shall include the full clear opening width of the doorway and the required latch side or hinge side clearance.  Required door maneuvering clearances shall not include knee and toe clearance.

# 4-14 – 12

Revise as follows:

TABLE 404.2.3.2—MANEUVERING CLEARANCES AT MANUAL SWINGING DOORS

| TYPE OF USE |  | MANEUVERING CLEARANCES AT MANUAL SWINGING DOORS |  |
| --- | --- | --- | --- |
| Approach Direction | Door Side | Perpendicular to Doorway | Parallel to Doorway (beyond latch unless noted) |
| From front | Pull | 60 inches (1525 mm) | 18 inches (455 mm) |
| From front | Push | 48 52 inches (1220 mm) | 0 inches (0 mm)3 |
| From hinge side | Pull | 60 inches (1525 mm) | 36 inches (915 mm) |
| From hinge side | Pull | 54 inches (1370 mm) | 42 inches (1065 mm) |
| From hinge side | Push | 42 inches (1065 mm)1 | 22 inches (560 mm) 3 & 4 |
| From latch side | Pull | 48 inches (1220 mm)1 | 24 inches (610 mm) |
| From latch side | Push | 42 inches (1065 mm)2 | 24 inches (610 mm) |

1Add 6 inches (150 mm) if closer and latch provided.

2Add 6 inches (150 mm) if closer provided.

3Add 12 inches (305 mm) beyond latch if closer and latch provided.

4Beyond hinge side.

4-15 – 12

Revise as follows:

TABLE 404.2.3.2—MANEUVERING CLEARANCES AT MANUAL SWINGING DOORS

| TYPE OF USE |  | MANEUVERING CLEARANCES AT MANUAL SWINGING DOORS |  |
| --- | --- | --- | --- |
| Approach Direction | Door Side | Perpendicular to Doorway | Parallel to Doorway (beyond latch unless noted) |
| From front | Pull | 60 inches (1525 mm) | 18 inches (455 mm) |
| From front | Push | 48 52 inches (1220 1320 mm) | 0 inches (0 mm)3 |
| From hinge side | Pull | 60 inches (1525 mm) | 36 inches (915 mm) |
| From hinge side | Pull | 54 inches (1370 mm) | 42 inches (1065 mm) |
| From hinge side | Push | 42 inches (1065 mm)1 | 22 inches (560 mm)3 & 4 |
| From latch side | Pull | 48 inches (1220 mm)1 | 24 inches (610 mm) |
| From latch side | Push | 42 inches (1065 mm)2 | 24 inches (610 mm) |

1Add 6 inches (150 mm) if closer and latch provided.

2Add 6 inches (150 mm) if closer provided.

3Add 12 inches (305 mm) beyond latch if closer and latch provided.

4Beyond hinge side.

TABLE 404.2.3.3 – MANEUVERING CLEARANCES AT SLIDING AND FOLDING DOORS

| Approach Direction | MINIMUM MANEUVERING CLEARANCES |  |
| --- | --- | --- |
|  | Perpendicular to Doorway | Parallel to Doorway (beyond stop or latch side unless noted) |
| From front | 48 52 inches (1220 1320 mm) | 0 inches (0 mm) |
| From nonlatch side | 42 inches (1065 mm) | 22 inches (560 mm) 1 |
| From latch side | 42 inches (1065 mm) | 24 inches (610 mm) |

1. Beyond pocket or hinge side.

TABLE 404.2.3.4 - MANEUVERING CLEARANCES FOR DOORWAYS WITHOUT DOORS

| Approach direction | MINIMUM MANEUVERING CLEARANCES Perpendicular to Doorway |
| --- | --- |
| From front | 48 52 inches (1220 1320 mm) |
| From side | 42 inches (1065 mm) |

# 4-23 – 12

Revise as follows:

404.2.8 Door-Opening Force. Fire doors shall have the minimum opening force allowable by the appropriate administrative authority. The force for pushing or pulling open doors other than fire doors shall be as follows:

1.	Interior hinged door: 5.0 pounds (22.2 N) maximum

2.	Sliding or folding door: 5.0 pounds (22.2 N) maximum

These forces do not shall also apply to the force required to retract latch bolts or disengage other devices that hold the door in a closed position.

EXCEPTION: The 5.0 pounds force to retract latch bolts or disengage other devices that hold the door in a closed position shall not apply to panic hardware, delayed egress devices or fire-rated hardware.

# 4-27– 12

Revise as follows:

404.2.9 Door Surface. Door surfaces within 10 inches (255 mm) of the floor, measured vertically, shall be a smooth surface on the push side extending the full width of the door. Door hardware, or any other obstruction or protrusion shall not be mounted in nor extend into the area within 10 inches (255 mm) of the floor.  Parts creating horizontal or vertical joints in such the smooth surface shall be within 1/16 inch (1.6 mm) of the same plane as the other. Cavities created by added kick plates shall be capped.

EXCEPTIONS:

- Sliding doors shall not be required to comply with Section 404.2.9.

- Tempered glass doors without stiles and having a bottom rail or shoe with the top leading edge tapered at no less than 60 degrees from the horizontal shall not be required to comply with the 10-inch (255 mm) bottom rail height requirement.

Doors that do not extend to within 10 inches (255 mm) of the floor shall not be required to comply with Section 404.2.9.

# 4-29 – 12

Add text as follows:

404.2.9 Door Surface. Door surfaces within 10 inches (255 mm) of the floor, measured vertically, shall be a smooth surface on the push side extending the full width of the door. Parts creating horizontal or vertical joints in such surface shall be within 1/16 inch (1.6 mm) of the same plane as the other. Cavities created by added kick plates shall be capped.

EXCEPTIONS:

(Exceptions 1 through 3 are not changed)

4. 	Existing doors and gates without smooth surfaces within 10 inches (255 mm) of the finish floor or ground shall not be required to provide smooth surfaces complying with 404.2.9 provided that if added kick plates are installed, cavities created by such kick plates are capped,

# 4-30– 12

Revise as follows:

404.3 Automatic Doors and Power-Assisted Doors and Gates. Automatic doors and automatic gates shall comply with Section 404.3. Full powered automatic doors shall comply with ANSI/BHMA A156.10 listed in Section 105.2.4. Power–assist and low–energy doors shall comply with ANSI/BHMA A156.19 listed in Section 105.2.3.

EXCEPTION: Doors, doorways, and gates designed to be operated only by security personnel shall not be required to comply with Sections 404.3.2, 404.3.4, and 404.3.5.

404.3.2 Maneuvering Clearances. Maneuvering clearances at power–assisted doors shall comply with Section 404.2.3. Clearances at swinging automatic doors and gates without standby power and serving an accessible means of egress shall comply with Section 404.2.3.

EXCEPTION: Where automatic doors and gates remain open in the power-off condition, compliance with Section 404.2.3 shall not be required.

404.3.5 Controls Switches. Manually operated controls switches shall comply with Section 309. The clear floor space adjacent to the control switch shall be located beyond the arc of the door swing.

# 4-31– 12

Revise as follows:

404.3 Automatic Doors. Automatic doors and automatic gates shall comply with Section 404.3. Full powered automatic doors shall comply with ANSI/BHMA A156.10 listed in Section 105.2.4. Power-assist doors and low-energy automatic doors shall comply with ANSI/BHMA A1 56.19 listed in Section 105.2.3.

EXCEPTION: Doors, doorways, and gates designed to be operated only by security personnel shall not be required to comply with Sections 404.3.2, 404.3.4, and 404.3.5.

404.3.2 Maneuvering Clearances. Maneuvering clearances at power-assisted doors shall comply with Section 404.2.3.  Maneuvering clearances shall be provided on the egress side of low-energy automatic doors and full power automatic doors that serve as part of the accessible means of egress.

EXCEPTIONS:

- Low-energy automatic doors and full power automatic doors that have standby power or battery back-up shall not be required to comply with this section.

- Low-energy automatic doors and full power automatic doors that remain open in the power-off condition shall not be required to comply with this section.

- Full power automatic sliding doors that include a break-away feature shall not be required to comply with this section.

404.3.4 Two Doors in Series. Doors in series shall comply with Section 404.2.5.

EXCEPTION:  Where both doors are power assist doors, low energy automatic doors or full power automatic doors, two doors in a series shall not be required to provide a turning space between the doors.

404.3.5 Controls Switches. Manually operated controls switches shall comply with Section 309. The clear floor space adjacent to the control switch shall be located beyond the arc of the door swing.

404.3.6 Break Out Opening.  Where full power automatic sliding doors and gates are equipped with a break out feature, the clear break out opening shall be 32 inches (815 mm) minimum when operated in emergency mode.

4-34– 12

Revise as follows:

404.3.4 Two Doors in Series. Doors in series shall comply with Section 404.2.5.

EXCEPTION:  Full power automatic doors in a series are not required to provide a turning space complying with Section 304.

404.3.5 Control Switches. Manually operated control switches shall comply with Section 309. The clear floor space adjacent to the control switch shall be located beyond the arc of the door swings.

404.3.6 Door Hardware. Handles, pulls, latches, locks, and other operable parts shall comply with Section 404.2.6,

# 4-38 – 12

Revise as follows:

405.5 Clear Width.  The clear width of a ramp run shall be 36 inches (915 mm) minimum.  Handrails and handrail supports that are provided on the ramp run shall not project into the required clear width of the ramp run.

EXCEPTION: Within employee work areas, the required clear width of ramps that are a part of common use circulation paths shall be permitted to be decreased by work area equipment provided that the decrease is essential to the function of the work being performed.

405.8 Handrails.  Ramp runs with a rise greater than 6 inches (150 mm) shall have handrails complying with Section 505.

EXCEPTION: Within employee work areas, handrails shall not be required where ramps that are part of common use circulation paths, and which are used for the movement of equipment, are designed to permit the installation of handrails complying with Section 505.  Ramps not subject to the exception to Section 405.5 shall be designed to maintain a 36 inch (915 mm) minimum clear width when handrails are installed.

Add following new definitions.

106.5 Defined terms

circulation path.  An exterior or interior way of passage provided for pedestrian travel, including but not limited to, walks, hallways, courtyards, elevators, platform lifts, ramps, stairways, and landings.

common use.  Interior or exterior circulation paths, rooms, spaces, or elements that are not for public use and are made available for the shared use of two or more people.

employee work area.  All or any portion of a space used only by employees and used only for work.  Corridors, toilet rooms, kitchenettes and break rooms are not employee work areas.

# 4-40 – 12

Revise as follows:

405.7.4 Change in Direction. Ramps that change direction between runs at ramp landings shall be sized to provide a turning space complying with Section 304.3 shall have a clear landing 60 inches (1525 mm) minimum by 60 inches (1525 mm) minimum.

# 4-42– 12

Revise as follows:

406 Curb Ramps

406.1 General. Curb ramps on accessible routes shall comply with Sections 406, 405.2, 405.3, and 405.10.

406.2 Counter Slope. Counter slopes of adjoining gutters and road surfaces immediately adjacent to the curb ramp shall not be steeper than 1:20. The adjacent surfaces at transitions at curb ramps to walks, gutters and streets shall be at the same level.

406.3 Sides of Curb Ramps. Where provided, curb ramp flares shall comply with Section 406.3.

406.3.1 Slope. Flares shall not be steeper than 1:10.

406.4 Width. Curb ramps shall be 36 inches (915 mm) minimum in width, exclusive of flared sides.

406.5 Floor Surface. Floor surfaces of curb ramps shall comply with Section 302.

406.7 Landings. Landings shall be provided at the tops of curb ramps. The clear length of the landing shall be 36 inches (915 mm) minimum. The clear width of the landing shall be at least as wide as the curb ramp, excluding flared sides, leading to the landing.

EXCEPTION: In alterations, where there is no landing at the top of curb ramps, curb ramp flares shall be provided and shall not be steeper than 1:12.

406.10 Diagonal Curb Ramps. Diagonal or corner- type curb ramps with returned curbs or other well- defined edges shall have the edges parallel to the direction of pedestrian flow. The bottoms of diagonal curb ramps shall have 48 inches (1220 mm) minimum clear space outside active traffic lanes of the roadway. Diagonal curb ramps provided at marked crossings shall provide the 48 inches (1220 mm) minimum clear space within the markings. Diagonal curb ramps with flared sides shall have a segment of curb 24 inches (610 mm) minimum in length on each side of the curb ramp and within the marked crossing.

406.11 Islands. Raised islands in crossings shall be a cut-through level with the street or have curb ramps at both sides. Each curb ramp shall have a level area 48 inches (1220 mm) minimum in length and 36 inches (915 mm) minimum in width at the top of the curb ramp in the part of the island intersected by the crossings. Each 48-inch (1220 mm) by 36-inch (915 mm) area shall be oriented so the 48-inch (1220 mm) length is in the direction of the running slope of the curb ramp it serves. The 48-inch (1220 mm) by 36-inch (915 mm) areas and the accessible route shall be permitted to overlap.

406 Curb Ramps and Blended Transitions

406.1 General. Curb ramps and blended transitions on accessible route shall comply with Section 406

406.2 Perpendicular Curb Ramps. Perpendicular curb ramps shall comply with Sections 406.2 and 406.5.

406.2.1 Turning Space. A turning space 48 inches (1220 mm) minimum by 48 inches (1220 mm) minimum shall be provided at the top of the curb ramp and shall be permitted to overlap other turning spaces and clear spaces. Where the turning space is constrained at the back-of-sidewalk, the turning space shall be 48 inches (1220 mm) minimum by 60 inches (1525 mm) minimum. The 60 inches (1525 mm) dimension shall be provided in the direction of the ramp run.

406.2.2 Running Slope. The running slope of the curb ramp shall cut through or shall be built up to the curb at right angles or shall meet the gutter grade break at right angles where the curb is curved. The running slope of the curb ramp shall be 1:20 minimum and 1:12 maximum but shall not require the ramp length to exceed 15 feet (4570 mm). The running slope of the turning space shall be 1:48 maximum.

406.3 Parallel Curb Ramps. Parallel curb ramps shall comply with Sections 406.3 and 406.5.

406.3.1 Turning Space. A turning space  48 inches (1220 mm) minimum by  48 inches (1220 mm) minimum shall be provided at the bottom of the curb ramp and shall be permitted to overlap other turning spaces and clear spaces. Where the turning space is constrained on 2 or more sides, the turning space shall be 48 inches (1220 mm) minimum by 60 inches (1525 mm).  The 60 inches (1525 mm) dimension shall be provided in the direction of the pedestrian street crossing.

406.3.2 Running Slope. The running slope of the curb ramp shall be in-line with the direction of sidewalk travel. The running slope of the curb ramp shall be 1:20 minimum and 1:12 maximum but shall not require the ramp length to exceed 15 feet (4570 mm). minimum. The running slope of the turning space shall be  maximum.

406.4 Blended Transitions. Blended transitions shall comply with Sections 406.4 and 406.5.

406.4.1 Running Slope. The running slope of blended transitions shall be 1:20 maximum.

406.5 Common Requirements. Curb ramps and blended transitions shall comply with Section 406.5.

406.5.1 Width. The clear width of curb ramp runs (excluding any flared sides), blended transitions, and turning spaces shall be 48 inches (1220 mm) minimum.

406.5.2 Grade Breaks. Grade breaks at the top and bottom of curb ramp runs shall be perpendicular to the direction of the ramp run. Grade breaks shall not be permitted on the surface of ramp runs and turning spaces. Surface slopes that meet at grade breaks shall be flush.

406.5.3 Cross Slope. The cross slope of curb ramps, blended transitions, and turning spaces shall be 1:48 maximum. At pedestrian street crossings without yield or stop control and at midblock pedestrian street crossings, the cross slope shall be permitted to equal the street or highway grade.

406.5.4 Counter Slope. The counter slope of the gutter or street at the foot of curb ramp runs, blended transitions, and turning spaces shall be 1:20 maximum.

406.5.5 Clear Space. Beyond the bottom grade break, a clear space 48 inches (1220 mm) minimum by 48 inches (1220 mm) minimum shall be provided within the width of the pedestrian street crossing and wholly outside the parallel vehicle travel lane.

406.5.6 406.3.2 Marking. If curbs adjacent to the ramp flares are painted, the painted surface shall extend along the flared portion of the curb.

406.5.7 406.6 Location. Curb ramps and the flared sides of curb ramps shall be located so they do not project into vehicular traffic lanes, parking spaces, or parking access aisles. Curb ramps at marked crossings shall be wholly contained within the markings, excluding any flared sides.

406.5.9 406.8 Obstructions. Curb ramps shall be located or protected to prevent their obstruction by parked vehicles.

406.5.10 406.9 Handrails. Handrails shall not be required on curb ramps.

Add the following definitions:

blended transition. A raised pedestrian street crossing, depressed corner, or similar connection between the pedestrian access route at the level of the sidewalk and the level of the pedestrian street crossing that has a grade of 1:20 or less.

curb line. A line at the face of the curb that marks the transition between curb and the gutter, street or highway.

curb ramp.  A short ramp cutting through a curb or built up to it. Curb ramps can be perpendicular or parallel, or a combination of parallel and perpendicular ramps.

grade break.  The line where two surface planes with different grades meet.

4-44– 12

Revise as follows:

406.12 Detectable Warnings at Raised Marked Crossings. Marked crossings that are raised to the same level as the adjoining sidewalk shall be preceded by a detectable warning 24 inches (610 mm) in depth complying with Section 705. The detectable warning shall extend the full width of the marked crossing.

406.12 Where detectable warnings are required. Detectable warning surfaces complying with Section 705 shall be provided at the following locations on pedestrian access routes and at transit stops:

1. 	Curb ramps and blended transitions at pedestrian street crossings;

2. 	Pedestrian refuge islands;

3. 	Pedestrian at-grade rail crossings not located within a street or highway;

4. 	Boarding platforms at transit stops for buses and rail vehicles where the edges of the boarding platform are not protected by screens or guards; and

5. 	Boarding and alighting areas at sidewalk or street level transit stops for rail vehicles where the side of the boarding and alighting areas facing the rail vehicles is not protected by screens or guards.

Exception: Detectable warning surfaces are not required at pedestrian refuge islands that are cut-through at street level and are less than 6 feet (1830 mm) in length in the direction of pedestrian travel.

406.13 Detectable Warnings at Curb Ramps. Where detectable warnings are provided on curb ramps, they shall comply with Sections 406.13 and 705.

406.13.1 Area Covered. Detectable warnings shall be 24 inches (610 mm) minimum in depth in the direction of travel. The detectable warning shall extend the full width of the curb ramp or flush surface.

406.13.2 Location. The detectable warning shall be located so the edge nearest the curb line is 6 inches (150 mm) minimum and 8 inches (205 mm) maximum from the curb line.

406.14 Detectable Warnings at Islands or Cut-through Medians. Where detectable warnings are provided on curb ramps or at raised marked crossings leading to islands or cut-through medians, the island or cut-through median shall be provided with detectable warnings complying with Section 705, that are 24 inches (610 mm) in depth, and extend the full width of the pedestrian route or cut-through. Where such island or cut-through median is less than 48 inches (1220 mm) in depth, the entire width and depth of the pedestrian route or cut-through shall have detectable warnings.

705.6 Size. Detectable warning surfaces shall extend 24 inches (610 mm) minimum in the direction of pedestrian travel. At curb ramps and blended transitions, detectable warning surfaces shall extend the full width of the curb ramp run excluding any flared sides or blended transition. At pedestrian at-grade rail crossings not located within a street or highway, detectable warnings shall extend the full width of the crossing. At boarding platforms for buses and rail vehicles, detectable warning surfaces shall extend the full length of the public use areas of the platform. At boarding and alighting areas at sidewalk or street level transit stops for rail vehicles, detectable warning surfaces shall extend the full length of the transit stop.

705.7 Placement. The placement of detectable warning surfaces shall comply with Section 705.7.

705.7.1 Perpendicular Curb Ramps. On perpendicular curb ramps, detectable warning surfaces shall be placed as follows:

- Where the ends of the bottom grade break are in front of the back of curb, detectable warning surfaces shall be placed at the back of curb.

- Where the ends of the bottom grade break are behind the back of curb and the distance from either end of the bottom grade brake to the back of curb is 60 inches (1525 mm) or less, detectable warning surfaces shall be placed on the ramp run within one dome spacing of the bottom grade break.

- Where the ends of the bottom grade break are behind the back of curb and the distance from either end of the bottom grade brake to the back of curb is more than 60 inches (1525 mm), detectable warning surfaces shall be placed on the lower landing at the back of curb.

705.7.2 Parallel Curb Ramps. On parallel curb ramps, detectable warning surfaces shall be placed on the turning space at the flush transition between the street and sidewalk.

705.7.3 Blended Transitions. On blended transitions, detectable warning surfaces shall be placed at the back of curb. Where raised pedestrian street crossings, depressed corners, or other level pedestrian street crossings are provided, detectable warning surfaces shall be placed at the flush transition between the street and the sidewalk.

705.7.4 Pedestrian Refuge Islands. At cut-through pedestrian refuge islands, detectable warning surfaces shall be placed at the edges of the pedestrian island and shall be separated by a 24 inches (610 mm) minimum length of surface without detectable warnings.

705.7.5 Pedestrian At-Grade Rail Crossings. At pedestrian at-grade rail crossings not located within a street or highway, detectable warning surfaces shall be placed on each side of the rail crossing. The edge of the detectable warning surface nearest the rail crossing shall be 72 inches (1830) minimum and 15 feet (4570 mm) maximum from the centerline of the nearest rail. Where pedestrian gates are provided, detectable warning surfaces shall be placed on the side of the gates opposite the rail.

705.7.6 Boarding Platforms. At boarding platforms for buses and rail vehicles, detectable warning surfaces shall be placed at the boarding edge of the platform.

705.7.7 Boarding and Alighting Areas. At boarding and alighting areas at sidewalk or street level transit stops for rail vehicles, detectable warning surfaces shall be placed at the side of the boarding and alighting area facing the rail vehicles.

805.10 Track Crossings. Where a circulation path crosses tracks, it shall comply with Section 402 and shall have a detectable warning 24 inches (610 mm) in depth complying with Section 705 extending the full width of the circulation path. The detectable warning surface shall be located so that the edge nearest the rail crossing is 6 foot (1830 mm) minimum and 15 foot (4570 mm) maximum from the centerline of the nearest rail.

EXCEPTION: Openings for wheel flanges shall be permitted to be 21/2 inches (64 mm) maximum.

# 4-49– 12

Revise as follows:

407.4.6.1 Location. Controls shall be located within one of the reach ranges specified in Section 308.

EXCEPTIONS:

- Where the elevator panel complies with Section 407.4.8.

- In existing elevators, where a parallel approach is provided to the controls, car control buttons with floor designations shall be permitted to be located 54 inches (1370 mm) maximum above the floor. Where the panel is changed, it shall comply with Section 407.4.6.1 308.

# 4-50– 12

Revise as follows:

407.4.6.2.2 Arrangement. Buttons shall be arranged with numbers in ascending order. Floors shall be designated . . . -4, -3, -2, -1, 0, 1, 2, 3, 4, etcetera, with floors below the main entry floor designated with minus numbers. Numbers shall be permitted to be omitted, provided the remaining numbers are in sequence. Where a telephone keypad arrangement is used, the number key (“#”) shall be utilized to enter the minus symbol (“-”). When two or more columns of buttons are provided they shall read from left to right.

407.4.7.1.2 Designation. Floors shall be designated . . . -4, -3, -2, -1, 0, 1, 2, 3, 4, etcetera, with floors below the main entry floor designated with minus numbers. Numbers shall be permitted to be omitted, provided the remaining numbers are in sequence. Where a telephone keypad arrangement is used, the number key (“#”) shall be utilized to enter the minus symbol (“-”).  Ancillary letters shall be permitted to be used in conjunction with the numbers provided the letters are located to the right of the numbers and not more than two letters are used for each floor designation.

# 4-53– 12

Revise as follows:

407.4.9.1.1 Size. Characters shall be 1/2 5/8 inch (13 16 mm) minimum in height.

# 4-54– 12

407.4.10 Emergency Communications.  Visual and audible emergency two-way communication systems between the elevator car and a point outside the hoistway shall comply with Section 407.4.10 and ASME A17.1/CSA B44 listed in Section 105.2.5 and provide a two-way visual communication device.

407.4.10.1 Visual Display Device shall be provided for two-way visual communication to be activated by the elevator occupant.  Visual communication devices shall consist of a key pad and monitor to enable text based or sign-language communication provided through a certified Visual relay Service.

# 4-55– 12

Add new text as follows:

407.4.10.3 Instructions. Where instructions for use are provided, essential information shall be presented in visual form, raised characters and braille complying with Sections 703.2, 703.3 and 703.4.

407.4.10.3 Instructions. If Where instructions for use are provided, essential information they shall be presented in both visual form and raised characters and braille complying with Sections 703.2, 703.3 and 703.4.

# 4-56– 12

Revise as follows:

408.4.1 Inside Dimensions. Elevator cars shall provide a clear floor width of 42 inches (1065 mm) minimum. The clear floor area shall not be less than 15.75 square feet (1.46 m2).  The elevator car shall provide a clear floor space complying with Section 305.3.

EXCEPTIONS:

1.  For installations in existing buildings, elevator cars that provide a clear floor area of 15 square feet (1.4 m2) minimum, and provide a clear inside dimension of 36 inches (915 mm) minimum in width and 54 inches (1370 mm) minimum in depth, shall be permitted. This exception shall not apply to cars with doors on adjacent sides.

2.   For installations in existing buildings, cars that provide a clear width 51 inches (1295 mm) minimum shall be permitted to provide a clear depth 51 inches (1295 mm) minimum provided that car doors provide a clear opening 36 inches (915 mm) wide minimum.

# Chapter 5

# 5-1– 12

Revise as follows:

502.1 General. Accessible car and van parking spaces in parking lots shall comply with Section 502 Sections 502.2 through 502.8.  Accessible car and van parking spaces provided as part of on-street parking shall comply with Sections 502.9 through 502.10.

502.9 Parallel Parking Spaces. On-street parallel parking spaces shall comply with Section 502.9.1.  On-street perpendicular of angled parking shall comply with Section 502.9.2.

502.9.1 Wide Sidewalks. Where the width of the adjacent sidewalk or available right-of-way exceeds 14 feet (4270 mm), an access aisle 60 inches (1525 mm) wide minimum shall be provided at street level the full length of the parking space and shall connect to a pedestrian access route. The access aisle shall comply with Section 502.4 and shall not encroach on the vehicular travel lane.

502.9.1.1 Alterations. In alterations where the street or sidewalk adjacent to the parking spaces is not altered, an access aisle shall not be required provided the parking spaces are located at the end of the block face.

502.9.1.2 Narrow Sidewalks. An access aisle is not required where the width of the adjacent sidewalk or the available right-of-way is less than or equal to 14 feet (4270 mm). Where an access aisle is not provided, the parking spaces shall be located at the end of the block face.

502.9.2 Perpendicular or Angled Parking Spaces. Where perpendicular or angled parking is provided, an access aisle 96 inches (2440 mm) wide minimum shall be provided at street level the full length of the parking space and shall connect to a pedestrian access route. The access aisle shall comply with Section 502.4 and shall be marked so as to discourage parking in the access aisle. Two parking spaces are permitted to share a common access aisle.

502.10 Parking Meters and Parking Pay Stations. Parking meters and parking pay stations that serve accessible parking spaces shall comply with Section 309.

502.10.1 Location. At accessible parallel parking spaces, parking meters shall be located at the head or foot of the parking space.

502.10.2 Displays and Information. Displays and information shall be visible from a point located 40 inches (1015 mm) maximum above the center of the clear space in front of the parking meter or parking pay station.

# 5-8 – 12

Revise as follows:

503.3.3 Length. Access aisles shall be extend the full length of the vehicle pull-up spaces they serve. 20 feet (6100 mm) minimum in length.

# 5-13– 12

Revise as follows:

504.5.1 Visual contrast. The leading 2 inches (51 mm) of the landing and tread shall have visual contrast of dark on-light or light-on-dark from the remainder of the tread.

# 5-14– 12

Revise as follows:

504.8.1 Illumination Level. Lighting facilities shall be capable of providing 10 foot-candles (108 lux) of illuminance illumination of stairs measured at the center of tread surfaces and on landing surfaces within 24 inches (610 mm) of step nosings. as follows:

1.	A 1 foot candle (10.8 lux) minimum illumination at times other than conditions of stair use

2.	A 10 foot candle (108 lux) minimum illumination during conditions of stair use

3.	The transition from 1 foot candle (10.8 lux) to 10 foot candle (108 lux) under conditions of stair use shall be permitted to be achieved by automatic, motion sensor-type lighting switches provided the switch controllers comply with all of the following:

a.	The switch controllers are equipped for fail-safe operation and evaluated for this purpose

b.	The motion sensor is activated by occupant movement on the stair or stair landings

c.	The illumination timers are set for a minimum 15-minute duration

# 5-16 – 12

Revise as follows:

504.9 Stair Level Identification Tactile signage within the stairway enclosure. Stair level identification signs in raised characters and braille complying with Sections 703.3 and 703.4 shall be located at each floor level landing in all enclosed stairways adjacent to the door leading from the stairwell into the corridor to identify the floor level. The exit door discharging to the outside or to the level of exit discharge shall have a sign with raised characters and braille stating “EXIT.”

504.10 Tactile signage at exits.  A sign stating EXIT in raised characters and Braille and complying with Sections 703.3 and 703.4 shall be provided adjacent to each door to an area of refuge, an exterior area for assisted rescue, an exit stairway, an exit ramp, an exit passageway and the exit discharge.

# 5-22– 12

Revise as follows:

506.1 General. Where operable Accessible windows are provided in an accessible room or space, at least one shall be accessible and have operable parts complying with Section 309.  Where operable windows required to provide natural ventilation or operable windows are required to provide an emergency escape and rescue openings that window shall be the accessible operable window.

EXCEPTIONS:

- Operable windows that are operated only by employees are not required to comply with this section.

- Operable windows in Type A units that comply with Section 1003.13.

3.  Operable skylights are not required to comply with this section.

506.2 Opening force.  The opening force for opening operable windows shall be as follows:

- 8.5 pounds (37.7 N) maximum for casement or horizontal sliding windows

- 25 pounds (111 N) maximum for double hung windows

1002.9 Operable Parts. Lighting controls, electrical panelboards, electrical switches and receptacle outlets, environmental controls, appliance controls, operating hardware for operable windows, plumbing fixture controls, and user controls for security or intercom systems shall comply with Section 309.

EXCEPTIONS:

(Exceptions are not changed)

1002.13 Windows. Operable windows shall comply with Section 1002.13 506.1.

EXCEPTIONS:

- Windows in kitchens are not required to comply with this section.

- Windows in bathrooms are not required to comply with this section.

1002.13.1 Natural ventilation. Operable windows required to provide natural ventilation shall comply with Sections 309.2 and 309.3.

1002.13.2 Emergency escape. Operable windows required to provide an emergency escape and rescue opening shall comply with Section 309.2.

1003.9 Operable Parts. Lighting controls, electrical panelboards, electrical switches and receptacle outlets, environmental controls, appliance controls, operating hardware for operable windows, plumbing fixture controls, and user controls for security or intercom systems shall comply with Section 309.

EXCEPTIONS:

(Exceptions are not changed)

1003.13 Windows. Operable windows shall comply with Section 1003.13.

1003.13.1 Natural ventilation. Operable windows required to provide natural ventilation shall comply with Sections 309.2 and 309.3.

1003.13.2 Emergency escape. Operable windows required to provide an emergency escape and

rescue opening shall comply with Section 309.2.

# 5-23– 12

Add new text as follows:

507 Accessible Routes through Parking.  Where accessible routes pass through parking facilities, the routes shall be physically separated from vehicular traffic.

EXCEPTIONS:

1.   Crossings at drive aisles shall not be required to comply with Section 507.

2.   Parking spaces complying with Section 502 and passenger loading zones complying with Section 503 shall not be required to comply with Section 507.

# 5-24– 12

Revise as follows:

309.1 General. Operable parts required to be accessible shall comply with Section 309.

Exception:  Equipment used only for emergencies by emergency responders or emergency personnel shall not be required to comply with Section 309.

# 5-1– 13

Add new text as follows:

502 Parking Spaces

502.9 Electrical vehicle charging stations.  Where an electrical vehicle charging station is provided at an accessible parking space, it shall comply with Section 502.9.

502.9.1 Operable parts.  Operable parts on the charging station intended for operation by the user, including card readers, shall comply with Section 309.

502.9.2 Accessible route.  An accessible route shall be provided from the access aisle adjacent to the accessible parking space to the clear floor space complying with Section 502.9.1 adjacent to the vehicle charging station.  When the vehicle is being charged, the accessible route shall not be obstructed by the cable between the car and charging station.

502.9.3 Obstructions.  Protection bollards, curbs or wheel stops shall be located so that they do not obstruct the clear floor space required by Section 502.9.1 or the accessible route required by Section 502.9.2.

# Chapter 6

# 6-2– 12

Revise as follows:

602 Drinking Fountains and Bottle Filling Stations.

602.7 Bottle Filling Stations.  Bottle filling stations which shall comply with Sections 602.7.1 and 602.7.2.

Exception: Where bottle filling stations are part of the drinking fountain for standing persons, the bottle filling station is not required to comply with this section provided a bottle filling station is located at the wheelchair accessible drinking fountain.

602.7.1 Clear Floor Space.  A clear floor space complying with Section 305, positioned for a forward or side approach, shall be provided.

602.7.2 Controls.  Controls for bottle filling stations shall be hand operated or automatic.  Hand operated controls shall comply with Section 309.

# 6-5– 12

Revise as follows:

604.4 Height. The height of water closet seats shall be 17 inches (430 mm) minimum and 19 inches (485  mm) maximum above the floor, measured to the top of the seat. Seats shall not be sprung to return to a lifted position.

EXCEPTIONS:

1.	An accessible water closet which is adjustable in height by the user is permitted provided that at least one adjustment setting provides a seat within the range specified in Section 604.4.

2.	A water closet in a toilet room for a single occupant, accessed only through a private office and not for common use or public use, shall not be required to comply with Section 604.4.

# 6-7-12

Revise as follows:

604.5.1 Fixed Side Wall Grab Bars. Fixed side wall grab bars shall include a horizontal bar complying with Section 605.4.1.1 and a vertical grab bar complying with Section 604.5.1.2.  The vertical grab bar at water closets primarily for children’s use shall comply with Section 609.4.2

604.5.1.1 Horizontal Grab Bar.  A fixed horizontal side-wall grab bars shall be 42 inches (1065 mm) minimum in length, shall be located 12 inches (305 mm) maximum from the rear wall and extending 54 inches (1370 mm) minimum from the rear wall.

604.5.1.2 Vertical Grab Bar. In addition, A vertical grab bar 18 inches (455 mm) minimum in length shall be mounted with the bottom of the bar located 39 inches (990 mm) minimum and 41 inches (1040 mm) maximum above the floor, and with the center line of the bar located 39 inches (990 mm) minimum and 41 inches (1040 mm) maximum from the rear wall.

EXCEPTION: The vertical grab bar at water closets primarily for children’s use shall comply with Section 609.4.2.

# 6-10– 12

Revise as follows:

604.5.2 Rear Wall Grab Bars. The fixed rear wall grab bar shall be 36 inches (915 mm) minimum in length and extend from the centerline of the water closet between 12 inches (305) minimum on the side closest to the wall, and 24 inches (610 mm) minimum on the transfer side., located 6 inches maximum (150 mm) from the side wall and extending 42 inches (1065 mm) from the side wall.

EXCEPTIONS:  (No change to exceptions)

# 6-14– 12

Revise as follows:

604.7 Dispensers. Toilet paper dispensers shall comply with Section 309.4. Where the dispenser is located above the grab bar, the outlet of the dispenser shall be located within an area 24 inches (610 mm) minimum and 36 inches (915 mm) maximum from the rear wall. Where the dispenser is located below the grab bar, the outlet of the dispenser shall be located within an area 24 inches (610 mm) minimum and 42 inches (1065 mm) maximum from the rear wall. The outlet of the dispenser shall be located 18 inches (455 mm) minimum and 48 inches (1220 mm) maximum above the floor. Dispensers shall comply with Section 609.3. Dispensers shall not be of a type that control delivery, or do not allow continuous paper flow.

EXCEPTION:  Toilet paper dispensers that accommodate a maximum of 2 toilet paper rolls of not more than 5 inch (125 mm) diameter each shall be permitted to be located 7 inches (180 mm) minimum and 9 inches (230 mm) maximum in front the of the water closet measured to the centerline of the dispenser.

604.11.7 Dispensers. Toilet paper dispensers primarily for children’s use shall comply with Section 309.4. The outlet of dispensers shall be located within an area 24 inches (610 mm) minimum and 42 inches (1065 mm) maximum from the rear wall.  The outlet of the dispenser shall be 14 inches (355 mm) minimum and 19 inches (485 mm) maximum above the floor. There shall be a clearance of 1 1/2 inches (38 mm) minimum below the grab bar. Dispensers shall not be of a type that control delivery or do not allow continuous paper flow.

EXCEPTION:  Toilet paper dispensers that accommodate a maximum of 2 toilet paper rolls of not more than 5 inch (125 mm) diameter each shall be permitted to be located 7 inches (180 mm) minimum and 9 inches (230 mm) maximum in front the of the water closet measured to the centerline of the dispenser

6-18– 12

Add new text as follows:

604.9.2.3 Alternate Wheelchair Accessible Compartments.  Where an alternate wheelchair compartment is required, the minimum area of an alternate wheelchair accessible compartment shall be 60 inches (1525 mm) minimum width measured perpendicular to the side wall, and 82 inches (2085 mm) minimum in depth measured perpendicular to the rear wall.

604.9.3 Doors. Toilet compartment doors, including door hardware, shall comply with Section 404, except if the approach is to the latch side of the compartment door clearance between the door side of the stall and any obstruction shall be 42 inches (1065 mm) minimum. The door shall be self-closing. A door pull complying with Section 404.2.6 shall be placed on both sides of the door near the latch. Toilet compartment doors shall not swing into the required minimum area of the compartment.

Exception:  In an alternate wheelchair accessible compartment, the door can swing into the stall where a clear floor space complying with Section 305.3 is provided within the stall beyond the arc of the door swing.

# 6-19– 12

Revise as follows:

604.9.3 Doors. Toilet compartment doors, including door hardware, shall comply with Section 404, except if the approach is to the latch side of the compartment door clearance between the door side of the stall and any obstruction shall be 42 inches (1065 mm) minimum. The door shall be self-closing. A door pull complying with Section 404.2.6 shall be placed on both sides of the door near the latch. Toilet compartment doors shall not swing into the required minimum area of the compartment.

EXCEPTIONS:

1.	Outside of the compartment, where the approach is to the latch side of the compartment door clearance between the door side of the compartmentl and any obstruction shall be 42 inches (1065 mm) minimum.

2.	Within the compartment, maneuvering clearances at the door are not required to comply with Section 404.

604.10.3 Doors. Toilet compartment doors, including door hardware, shall comply with Section 404, except if the approach is to the latch side of the compartment door the clearance between the door side of the compartment and any obstruction shall be 42 inches (1065 mm) minimum. The door shall be self- closing. A door pull complying with Section 404.2.6 shall be placed on both sides of the door near the latch. Compartment doors shall not swing into the required minimum area of the compartment.

EXCEPTIONS:

1.	Outside of the compartment, where the approach is to the latch side of the compartment door, clearance between the door side of the compartment and any obstruction shall be 42 inches (1065 mm) minimum.

2.	Within the compartment, maneuvering clearances at the door are not required to comply with Section 404.

# 6-20– 12

Revise Table as follows:

Table 604.9.3.1 – Door Opening Locations

| Door Opening Location | Measured From | Dimension |
| --- | --- | --- |
| Front Wall or Partition | From the side wall or partition closest to the water closet | 56 inches (1420 mm) minimum |
|  | Or |  |
|  | From the side wall or partition farthest from the water closet | 4 5 inches (102 125 mm) maximum |
| Side Wall or Partition - Wall-Hung Water Closet | From the rear wall | 52 inches (1320 mm) minimum |
|  | Or |  |
|  | From the front wall or partition | 4 5 inches (102 125 mm) maximum |
| Side Wall or Partition - Floor-Mounted Water Closet | From the rear wall | 55 inches (1395 mm) minimum |
|  | Or |  |
|  | From the front wall or partition | 4 5 inches (102 125 mm) maximum |

# 6-22– 12

Revise as follows:

604.9.5 Toe Clearance at Accessible Compartments. Toe clearance for compartments primarily for children’s use shall comply with Section 604.9.5.2. Toe clearance for other wheelchair accessible compartments shall comply with Section 604.9.5.1.

604.9.5.1 Toe Clearance at Compartments. The front partition and at least one side partition of compartments shall provide a toe clearance of 9 12 inches (230 305 mm) minimum above the floor and extending 6 8 inches (150 205 mm) beyond the compartment side face of the partition, exclusive of partition support members.

EXCEPTIONS:

1.	Toe clearance at the front partition is not required in a compartment greater than 62 64 inches (1575 1625 mm) in depth with a wall-hung water closet, or greater than 65 67 inches (1650 1700 mm) in depth with a floor-mounted water closet.

2.	Toe clearance at the side partition is not required in a compartment greater than 66 68 inches (1675 1730 mm) in width.

604.9.5.2 Toe Clearance at Compartments for Children’s Use. The front partition and at least one side partition of compartments primarily for children’s use shall provide a toe clearance of 12 inches (305 mm) minimum above the floor and extending 6 8 inches (150 205 mm) beyond the compartment side face of the partition, exclusive of partition support members.

EXCEPTIONS:

1. Toe clearance at the front partition is not required in a compartment greater than 65 67 inches (1650 1700 mm) in depth.

2. Toe clearance at the side partition is not required in a compartment greater than 66 68 inches (1675 1730 mm) in width.

# 6-24– 12

Revise as follows:

604.10.2 Size. The minimum area of an ambulatory accessible compartment shall be 60 inches (1525 mm) minimum in depth and a width of 35 inches (890 mm) minimum and 37 inches (940 mm) maximum 36 inches (915 mm) in width.

604.11.2 Location. The water closet primarily for children’s use shall be located with a wall or partition to the rear and to one side. The centerline of the water closet shall be 12 inches (305 mm) minimum and 18 inches (455 mm) maximum from the side wall or partition except that the water closet shall be 17 inches (430 mm) minimum and 19 inches (485 mm) maximum from the side wall or partition in the ambulatory accessible toilet compartment specified in Section 604.10.1. Water closets located in ambulatory accessible toilet compartments specified in Section 604.10 shall be located as specified in Section 604.2.

605.2 Height and Depth. Urinals shall be of the stall type or shall be of the wall hung type with the rim at 17 inches (430 mm) maximum above the floor.  Wall hung Urinals shall be 13 ½ inches (345 mm) minimum in depth measured from the outer face of the urinal rim to the wall.

# 6-33 – 12

Revise as follows:

606.2 Clear Floor Space. A clear floor space complying with Section 305.3, positioned for forward approach, shall be provided. Knee and toe clearance complying with Section 306 shall be provided. The dip of the overflow shall not be considered in determining knee and toe clearances.

EXCEPTIONS:

- (unchanged)

- (unchanged)

- A knee clearance of 24 inches (610 mm) minimum above the floor shall be permitted at lavatories and sinks used primarily by children ages 6 through 12 where the higher of the rim or counter surface is 31 inches (785 mm) maximum above the floor.

- (unchanged)

- (unchanged)

- (unchanged)

# 6-36 – 12

Revise as follows:

606.4 Faucets. Faucets shall comply with Section 309. Hand-operated metering faucets shall remain open for 10 seconds minimum.

EXCEPTION:  Automatic faucets are not required to comply with Section 309 provided that the reach depth to activate the faucets and the water flow is 11 inches (280 mm) maximum.

606.5 Lavatories with Enhanced Reach Range. Where enhanced reach range is required at lavatories, faucets and soap dispenser controls shall have a reach depth of 11 inches (280 mm) maximum or, if automatic, shall be activated within a reach depth of 11 inches (280 mm) maximum. Water and soap flow shall be provided with a reach depth of 11 inches (280 mm) maximum.  The rim of the lavatory shall be 34 inches (865 mm) maximum above the floor, measured to the higher of the rim or counter surface.

EXCEPTIONS:

- Enhanced reach range faucets are not required on lavatories provided with automatic faucets where the reach depth to activate the faucets and the water flow has a reach depth 11 inches (280 mm) maximum.

- Enhanced reach range soap dispensers are not required on lavatories provided with automatic faucets where the reach depth to activate the soap dispensers and the soap flow is 11 inches (280 mm) maximum.

# 6-37– 12

Add new text as follows:

606.5 Basin Location.  The interior edge of the rim of the lavatory basin shall be located 3 inches (75 mm) maximum from the front edge of the fixture or countertop.

# 6-46– 12

Revise as follows:

608.2.1.2 Clearance. A clearance of 48 52 inches (1220 1320 mm) minimum in length measured perpendicular from 12 inches (305 mm) beyond the control seat wall, and 36 inches (915 mm) minimum in depth shall be provided adjacent to the open face of the compartment.

# 6-55 – 12

Revise as follows:

608.3.2 Standard Roll-in-Type Showers. In standard roll-in type showers, a grab bar shall be provided on the back wall beginning at the edge of the seat. The grab bars shall not be provided above the seat. The back wall grab bar shall extend the length of the wall to within 6 inches (150 mm) of the side wall but shall not be required to exceed 48 inches (1220 mm) in length. Where a side wall is provided opposite the seat within 72 inches (1830 mm) of the seat wall, a grab bar shall be provided on the side wall opposite the seat. The side wall grab bar shall extend the length of the wall but shall not be required to exceed 30 inches (760 mm) in length. Grab bars on the side wall shall be 6 inches (150 mm) maximum from the adjacent back wall.

# 6-60– 12

Revise as follows:

608.4.1 Transfer-Type Showers. In transfer-type showers, the controls and hand shower shall be located:

1.  On the control wall opposite the seat,

2.  At a height of 38 inches (965 mm) minimum and 48 inches (1220 mm) maximum above the shower floor, and

3. 15 inches (380 mm) maximum, from the centerline of the control wall toward the shower opening.

608.4.2 Standard Roll-in Showers. In standard roll-in showers, the controls and hand shower shall be located:

1.  On the back wall,

2.  At a height above the grab bar of 38 inches (965 mm) minimum and 48 inches (1220 mm) maximum above the shower floor, and

3.  16 inches (405 mm) minimum and 27 inches (685 mm) maximum from the end wall behind the seat.

608.4.3 Alternate Roll-in Showers. In alternate roll-in showers, the controls and hand shower shall be located:

- At a height of 38 inches (965 mm) minimum and 48 inches (1220 mm) maximum above the shower floor., and

- In alternate roll-in showers with Where the controls and hand shower are located on the end wall adjacent to the seat, the controls and hand shower shall be 16 inches (405 mm) minimum and 27 inches (685 mm) maximum from the wall behind the seat wall., or

- In alternate roll-in showers with  where the controls and hand shower are located on the back wall opposite the seat, the controls and hand shower shall be located within 15 inches (380 mm) maximum from, left or right, of the centerline of the seat toward the transfer space.

# 6-62 – 12

Revise as follows:

608.4.3 Alternate Roll-in Showers. In alternate roll-in showers, the controls and hand shower shall be located 38 inches (965 mm) minimum and 48 inches (1220 mm) maximum above the shower floor. In alternate roll-in showers with controls and hand shower located on the end wall adjacent to the seat, the controls and hand shower shall be 16 inches (405 mm) minimum and 27 inches (685 mm) maximum from the seat wall. In alternate roll-in showers with the controls and hand shower located on the back wall opposite the seat, the controls and hand shower shall be located within 15 inches (380 mm), left or right, of the centerline of the seat.

# 6-65– 12

Revise as follows:

608.5 Hand Showers.  A hand shower with a hose 59 inches long (1500 mm) minimum in length, that can be used both as a fixed shower head and as a hand shower, shall be provided.  The hand shower shall have a control with a nonpositive shut-off feature.  Where provided, an adjustable-height hand shower mounted on a vertical bar shall be installed so as to not obstruct the use of grab bars.  A means to hold the hand shower wand while in the on or off position shall be located at a height of 38 inches (965 mm)  minimum and 48 inches (1220 mm) maximum above the shower finish floor.

EXCEPTIONS:  In other than Accessible units and Type A units, a fixed shower head located 48 inches (1220 mm) maximum above the shower floor shall be permitted in lieu of a hand shower.

# 6-69– 12

Revise as follows:

308.3.2 Obstructed High Reach. Where a clear floor space complying with Section 305 allows a parallel approach to an element and the high side reach is over an obstruction, the height of the obstruction shall be 34 inches (865 mm) maximum above the floor and the depth of the obstruction shall be 24 inches (610 mm) maximum. The high side reach shall be 48 inches (1220 mm) maximum above the floor for a reach depth of 10 inches (255 mm) maximum. Where the reach depth exceeds 10 inches (255 mm), the high side reach shall be 46 inches (1170 mm) maximum above the floor for a reach depth of 24 inches (610 mm) maximum.

EXCEPTION:  At washing machines and clothes dryers, the height of the obstruction shall be permitted to be 36 inches (915 mm) maximum above the floor.

611.3 Operable Parts. Operable parts, including doors, lint screens, detergent and bleach compartments, shall comply with Sections 308 and 309.

EXCEPTION:  The height of the obstruction in Section 308.3.2 shall be permitted to be 36 inches (915 mm) maximum above the floor.

# 6-70– 12

Revise as follows:

612.2 Bench. Where seating is provided in saunas and steam rooms, at least one bench shall comply with Section 903. Doors shall not swing into the clear floor space required by Section 903.2.

EXCEPTION: Where the room is for individual use and a clear floor space complying with Section 305.3 is provided within the room beyond the arc of the door swing, the door shall not be required to comply with Section 612.2.

# Chapter 7

# 7-1– 12

Add new text as follows:

105.2.13  Light reflectance value (LRV) of a surface. Method of Test.  BS 8493:2008 + A1: 2010 (British Standards Institution, 389 Chiswick High Road, London W4 4AL, United Kingdon).

701.1.2 Light Reflectance Value. The light reflectance value (LRV) of surfaces shall be determined in accordance with BS 8493 for the following surface types:

1.  Opaque paint coatings and paint systems, including those that cause extreme angular dependences of reflected light and those that have a surface texture of less than 2 mm;

2.  Opaque coverings including those that cause extreme angular dependences of reflected light, and those that have an unyielding texture of less than 2 mm;

3.  Opaque coverings with a yielding pile, e.g. carpet;

4.  Opaque materials, including those that cause extreme angular dependences of reflected light, and those that have a texture of less than 2 mm, e.g. finished metals;

5.  Opaque materials coated with non-opaque coatings or coverings, e.g. timber door coated with a woodstain, including those that cause extreme angular dependences of reflected light, and those that have a texture of less than 2 mm;

6.  Multi-colored surfaces;

701.1.2.1 Other Surfaces. Other surfaces shall comply with Section 703.1.3.1.

701.1.3 Contrast Value. The contrast between the LRVs of adjacent surfaces required by Sections 703.2.1.2, 703.5.3.2, 703.6.3.2, 705.3, and 504.5.1 shall be determined by Equation 7-1,

Contrast = [(B1-B2)/B1] x 100 percent 						Equation 7-1

Where

B1 = light reflectance value (LRV) of the lighter surface,

B2 = light reflectance value (LRV) of the darker surface.

701.1.3.1 Other Surfaces. Surfaces not within the scope of BS 8493 shall provide contrast between adjacent surfaces that are either light on dark or dark on light.

Revise as follows

703.2.1 General.  Visual characters shall comply with the following:

(Balance of section is not changed)

703.2.1.1 Nonglare Finish.  The glare from coverings, the finish of characters and their background shall not exceed 19 as measured on a 60-degree gloss meter.

703.2.1.2 Contrast. The Light Reflectance Value (LRV) of characters and their background shall contrast 70 percent minimum as determined in accordance with Equation 7-1. The lighter surface shall have a LRV of not less than 45.

703.5.3 Finish and Contrast. Pictograms and their fields shall have a nonglare finish. Pictograms shall

contrast with their fields, with either light pictograms on a dark field, or dark pictograms on a light field.

703.5.3.1 Nonglare Finish. The glare from coverings and the finish of pictograms and their fields shall not exceed 19 as measured on a 60-degree gloss meter.

703.5.3.2 Contrast. The Light Reflectance Value (LRV) of pictograms and their fields shall contrast 70 percent minimum as determined in accordance with Equation 7-1. The lighter surface shall have a LRV of not less than 45.

703.6.2  Finish and Contrast.  Symbols of accessibility and their backgrounds shall have non-glare finish.  Symbols of accessibility shall contrast with their backgrounds with either a light symbol on a dark background or a dark symbol on a light background.

703.6.3.1 Nonglare Finish. The glare from coverings and the finish of symbols of accessibility and their backgrounds shall not exceed 19 as measured on a 60-degree gloss meter.

703.6.3.2 Contrast. The Light Reflectance Value (LRV) of symbols of accessibility and their backgrounds shall contrast 70 percent minimum, as determined in accordance with Equation 7-1. The lighter surface shall have a LRV of not less than 45.

705.3 Contrast. Detectable warning surfaces shall contrast visually with adjacent surfaces, either light-on-dark or dark-on-light.

The Light Reflectance Value (LRV) of the surfaces shall contrast 70 percent minimum, as determined in accordance with Equation 7-1. The lighter surface shall have a LRV of not less than 45.

504.5.1 Visual Contrast. The leading 2 inches (51 mm) of the tread shall have visual contrast of dark-on-light or light-on-dark from the remainder of the tread.

The Light Reflectance Value (LRV) of the 2-inch (51 mm) stripe and tread shall contrast 70 percent minimum, as determined in accordance with Equation 7-1.  The lighter surface shall have a LRV of not less than 45.

# 7-2 – 12

Revise as follows:

702.1 General. Accessible audible and visible alarms and notification appliances that are part of a building fire alarm system shall be installed in accordance with NFPA 72 listed in Section 105.2.2, be powered by a commercial light and power source, be permanently connected to the wiring of the premises electric system, and be permanently installed.

EXCEPTION:  Audible and visible notification appliances provided within dwelling or sleeping units shall comply with Sections 1006.2 through 1006.4.4.

# 7-6 – 12

Revise as follows:

TABLE 703.2.4—VISUAL CHARACTER HEIGHT

| Height above Floor to Baseline of Character 1 | Horizontal Viewing Distance 2 | Minimum Character Height |
| --- | --- | --- |
| 40 inches (1015 mm) to less than or equal to 70 inches (1780 mm) | Less than 6 feet (1830 mm) | 5/8 inch (16 mm) |
|  | 6 feet (1830 mm) and greater | 5/8 inch (16 mm), plus 1/8 inch (3.2 mm) per foot (305 mm) of viewing distance above 6 feet (1830 mm) |
| Greater than 70 inches (1780 mm) to less than or equal to 120 inches (3050 mm) | Less than 15 feet (4570 mm) | 2 inches (51 mm) |
|  | 15 feet (4570 mm) and greater | 2 inches (51 mm), plus 1/8 inch (3.2 mm) per foot (305 mm) of viewing distance above 15 feet (4570 mm) |
| Greater than 120 inches (3050 mm) | Less than 21 feet (6400 mm) | 3 inches (75 mm) |
|  | 21 feet (6400 mm) and greater | 3 inches (75 mm), plus 1/8 inch (3.2 mm) per foot (305 mm) of viewing distance above 21 feet (6400 mm) |

- The vertical height is measured from the floor of the viewing position to the baseline of the highest line of characters.

- The horizontal viewing distance shall be measured as the horizontal distance between the character and an obstruction preventing further approach towards the sign or where applicable, as stated in the exception to Section 703.2.4.

TABLE 703.7.4—LOW RESOLUTION VMS CHARACTER HEIGHT

| Height above Floor to Baseline of Character 1 | Horizontal Viewing Distance 2 | Minimum Character Height |
| --- | --- | --- |
| 40 inches (1015 mm) to less than or equal to 70 inches (1780 mm) | Less than 10 feet (3050 mm) | 2 inches (51 mm) |
|  | 10 feet (3050 mm) and greater | 2 inches (51 mm), plus 1/5 inch (5.1 mm) per foot (305 mm) of viewing distance above 10 feet (3050 mm) |
| Greater than 70 inches (1780 mm) to less than or equal to 120 inches (3050 mm) | Less than 15 feet (4570 mm) | 3 inches (75 mm) |
|  | 15 feet (4570 mm) and greater | 3 inches (75 mm), plus 1/5 inch (5.1 mm) per foot (305 mm) of viewing distance above 15 feet (4570 mm) |
| Greater than 120 inches (3050 mm) | Less than 20 feet (6095 mm) | 4 inches (100 mm) |
|  | 20 feet (6095 mm) and greater | 4 inches (100 mm), plus 1/5 inch (5.1 mm) per foot (305 mm) of viewing distance above 20 feet (6095 mm) |

- The vertical height is measured from the floor of the viewing position to the baseline of the highest line of characters.

- The horizontal viewing distance shall be measured as the horizontal distance between the character and an obstruction preventing further approach towards the sign or where applicable, as stated in the exception to Section 703.7.4.

# 7-14 – 12

Revise as follows:

704.2 Wheelchair Accessible Telephones. Wheelchair accessible public telephones shall comply with Section 704.2.

EXCEPTION: Drive up only public telephones are not required to be provided with a clear floor space complying to comply with Section 704.2 704.2.1.

7-15 – 12

Delete without substitution the following:

704.2.5 Hearing–Aid Compatibility. Telephones shall be hearing aid compatible.

704.7 Protruding Objects. Telephones, enclosures, and related equipment shall comply with Section 307.

# 7-16– 12

Add new text as follows:

704.8 Visual Relay Service Booth.  Each public Visual Relay Service Booth shall be accessible and accommodate one user with seating, a visual monitor, control device, diffuse lighting with a minimum lighting level of 20 foot candles (215 lux). And privacy enclosure with a flat, non-textured surface and finish color in contrast with the full range of human skin tones to provide a background for clear visual communication.

# 7-18 – 12

Revise as follows:

705.5.4 Alignment. Truncated domes shall be aligned in a square or radial grid pattern.

# 7-19– 12

Add new text as follows:

105.2.12  Hearing aids – Magnetic field strength in audio-frequency induction loops for hearing aids operating with an induction pickup coil  IEC 60118.4-2007  (International Electrotechnical Commission, 3 rue de Varenbe, PO Box 131, 1211 Geneva 20, Switzerland.)

Revise as follows:

706.1 General. Where installed, assistive listening systems required in assembly areas shall comply with 706.

706.3 Induction Loop Systems. Where induction hearing loop systems are provided, they shall comply with IEC-60118-4.

# 7-20 – 12

Revise as follows:

706.2 Receiver Jacks. Receivers required for use with an assistive listening system shall include a 1/8 inch (3.2 mm) standard mono monaural (monophonic) jack.

# 7-21 – 12

Revise as follows:

TABLE 707.6.1—RAISED SYMBOLS

| Key Function | Description of Raised Symbol | Raised Symbol |
| --- | --- | --- |
| Enter or Proceed: | CIRCLE |  |
| Clear or Correct: | LEFT ARROW | or < |
| Cancel: | “X” | X |
| Add Value: | PLUS SIGN | + |
| Decreased Value: | MINUS SIGN | - |

# 7-23– 12

Revise as follows:

703.3.8 Character Spacing.  Character spacing shall be measured between the two closest points of adjacent raised characters within a message, excluding word spaces.  Spacing between individual raised characters shall be 15% or 1/8 inch (3.2 mm)  minimum, whichever is greater, and 35% maximum of the character height measured at the top of the surface of the characters, 1/16 inch (1.6 mm) minimum measured at the base of the characters, and four times the raised character stroke width maximum. Characters shall be separated from raised borders and decorative elements 3/8 inch (9.5 mm) minimum.

# Chapter 8

# 8-2 – 12

Revise as follows:

802.1 General. Wheelchair spaces and wheel chair space locations in assembly areas with spectator seating shall comply with Section 802. Where tiered seating includes dining surfaces or work surfaces, wheelchair spaces and wheelchair space locations shall comply with Section 802.6, 802.7, 802.9, 802.10 and 902.  Team and player seating shall comply with Sections 802.2 through 802.6.

802.7.2 Companion Seat Alignment. In row seating, the companion seat shall be located to provide shoulder alignment with the wheelchair space occupant. The shoulder of the wheelchair space occupant shall be measured either 36 inches (915 mm) from the front or 12 inches (305 mm) from the rear of the wheelchair space. The floor surface for the companion seat shall be at the same elevation as the wheelchair space floor surface.

EXCEPTION: Companion seat alignment is not required in tiered seating includes dining surfaces or work surfaces.

# 8-3– 12

Revise as follows:

802.4 Depth. Where a wheelchair space can be entered from the front or rear, the wheelchair space shall be 48 52 inches (1220 1320 mm) minimum in depth. Where a wheelchair space can only be entered from the side, the wheelchair space shall be 60 inches (1525 mm) minimum in depth.

# 8-4 – 12

Revise as follows:

802.10.1 Horizontal Dispersion. Wheelchair space locations shall be dispersed horizontally to provide viewing options. Where seating encircles the stage or field, in whole or in part, horizontal dispersion shall include the entire seating area.  Two wheelchair spaces shall be permitted to be located side-by-side.

EXCEPTION:

(No change to the exception)

# 8-5– 12

Add new text as follows:

802.10.3.1 Charging Stations. Where charging stations are provided at wheelchair space locations they shall comply with Section 906.

906 Charging Stations.

906.1 General. A charging station shall consist of a grounded duplex outlet.

906.2 Clear Floor Space. A clear floor space complying with Section 305 shall be provided.

906.3 Height. Accessible charging stations shall comply with at least one of the reach ranges specified in Section 308.

# 8-6– 12

Add new text as follows:

802.11 Stage Lighting for Sign Language Interpreters.  Lighting shall be provided at each side of a stage for the purposes of illuminating a Sign Language Interpreter. The illuminated presentation area shall be 25 square feet (2.3 m2) minimum measured in a vertical plane with the bottom edge at 48 inches (1220 mm) above the finished floor and a minimum of 36 inches (915 mm) measured from the presentation wall.  The illumination shall be provided by directional light fixtures controlled independently from the general room lighting.  The fixtures shall be located as necessary to provide a diagonal cast of light for facial illumination at no less than 15 degrees from the vertical plane.  The illumination shall be 10 foot candles (108 lux) minimum greater than the least light level.

# 8-9– 12

Revise as follows:

804.2.2 U-Shaped Kitchens. In kitchens enclosed on three contiguous sides, clearance between all opposing base cabinets, countertops, appliances, or walls within kitchen work areas shall be 60 inches (1525 mm) minimum.

EXCEPTION:  U-shaped kitchens with an island shall be permitted to comply with Section 804.2.1.

1003.12.1.2 U-Shaped Kitchens. In kitchens with counters, appliances, or cabinets on three contiguous sides, clearance between all opposing base cabinets, countertops, appliances, or walls within kitchen work areas shall be 60 inches (1525 mm) minimum.

EXCEPTION:  U-shaped kitchens with an island shall be permitted to comply with Section 1003.12.1.1.

1004.12.1.2 U-Shaped Kitchens. In kitchens with counters, appliances, or cabinets on three contiguous sides, clearance between all opposing base cabinets, countertops, appliances, or walls within kitchen work areas shall be 60 inches (1525 mm) minimum.

EXCEPTION:  U-shaped kitchens with an island shall be permitted to comply with Section 1004.12.1.1.

# 8-10– 12

Revise as follows:

804.3 Work Surface. At least one accessible work surface shall be provided in accordance with Section 902.  At least one accessible work surface shall be located in accordance with Section 804.5.5.2 or 804.5.5.3.

EXCEPTION: Spaces that do not provide a cooktop or conventional range shall not be required to provide an accessible work surface.

1002.12 Kitchens and kitchenettes. Kitchens and kitchenettes shall comply with Section 804. At least one work surface, 30 inches (760 mm) minimum in length, shall comply with Section 902.

EXCEPTION: Spaces that do not provide a cooktop or conventional range shall not be required to provide an accessible work surface.

1003.12.3 Work Surface. At least one section of counter shall provide an accessible work surface 30 inches (760 mm) minimum in length complying with Section 1003.12.3.

EXCEPTION: Spaces that do not provide a cooktop or conventional range shall not be required to provide an accessible work surface.

# 8-11– 12

Revise as follows:

804.3 Work Surface. At least one work surface, 30 inches (760 mm) minimum in length shall be provided in accordance with Section 902.

EXCEPTION: Spaces that do not provide a cooktop or conventional range shall not be required to provide an accessible work surface.

# 8-13– 12

Revise as follows:

804.2 Clearance. Where a pass-through kitchen is provided, clearances shall comply with Section 804.2.1. Where a U-shaped kitchen is provided, clearances shall comply with Section 804.2.2.  Kitchens where a cook top or conventional range are not provided shall comply with Section 804.2.3.

EXCEPTION: Spaces that do not provide a cooktop or conventional range shall not be required to comply with Section 804.2 provided there is a 40-inch (1015 mm) minimum clearance between all opposing base cabinets, counter tops, appliances, or walls within work areas.

804.2.3 Spaces where a cook top or conventional range are not provided.  In a kitchen space where a cooktop or conventional range is not provides, clearance between all opposing base cabinets, counter tops, appliances, or walls within work areas shall  be 40-inch (1015 mm) minimum.

1002.12 Kitchens and kitchenettes. Kitchens and kitchenettes shall comply with Section 804. At least one work surface, 30 inches (760 mm) minimum in length, shall comply with Section 902.

EXCEPTION: Spaces that do not provide a cooktop or conventional range shall not be required to provide an accessible work surface.

1003.12.3 Work Surface. At least one section of counter shall provide a work surface 30 inches (760 mm) minimum in length complying with Section 1003.12.3.

EXCEPTION: Spaces that do not provide a cooktop or conventional range shall not be required to provide an accessible work surface.

    - Sink. Sinks shall comply with Section 1003.12.4.

Exception:  A parallel approach complying with Section 305 and centered on the sink, shall be permitted to a kitchen sink in a space where a cook top or conventional range is not provided.

# 8-15– 12

Add new text as follows:

Section 808

Acoustics

808.1 General. Classrooms not exceeding 20,000 cubic feet (565 m3) and required to provide enhanced acoustics shall comply with Section 808.

808.2 Reverberation Time. Classrooms shall provide reverberation times complying with Sections 808.2.1 or 808.2.2.  Reverberation times shall apply to fully furnished classrooms while not in use.

808.2.1 Compliance Method A.  In each of the octave frequency bands of 500, 1000, and 2000 Hz, reverberation times for sound to decay by 60 dB (T60) shall not exceed the times specified below:

1. 0.6 seconds in classrooms 10,000 cubic feet (285 m3) maximum.

2. 0.7 seconds in classrooms more than 10,000 cubic feet (285 m3) but not exceeding 20,000 cubic feet (565 m3).

Reverberation times shall be field verified and shall be measured over a minimum level decay of 20 dB for which the maximum time shall not exceed 0.2 seconds for classrooms listed in item #1 and 0.23 seconds for classrooms listed in item #2 .

808.2.2 Compliance Method B.  Small classrooms 10,000 cubic feet (285 m3) maximum complying with Table 808.2.2(a) for T60 of 0.6 s.,  and large classrooms more than 10,000 cubic feet (285 m3) but not exceeding 20,000 cubic feet (565 m3) complying with Table 808.2.2(b) for T60 of 0.7s., shall be deemed to comply with Section 808.2.

Table 808.2.2(a) — Minimum surface area of acoustical treatment for small classrooms.

| Sound absorption coefficient, α1 | Ceiling height, H, ft. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |
|  | Ceiling height, H, m. |  |  |  |  |  |  |  |  |
|  | 2.44 | 2.74 | 3.05 | 3.35 | 3.66 | 3.96 | 4.27 | 4.57 | 4.88 |
|  | Minimum combined area of wall and ceiling sound-absorbing material as a percentage of the floor area |  |  |  |  |  |  |  |  |
| 0.45 | 112 | 130 | 148 | 167 | 185 | 203 | 221 | 239 | 257 |
| 0.50 | 101 | 117 | 134 | 150 | 166 | 183 | 199 | 215 | 232 |
| 0.55 | 92 | 107 | 121 | 136 | 151 | 166 | 181 | 196 | 211 |
| 0.60 | 84 | 98 | 111 | 125 | 139 | 152 | 166 | 179 | 193 |
| 0.65 | 78 | 90 | 103 | 115 | 128 | 141 | 153 | 166 | 178 |
| 0.70 | 72 | 84 | 95 | 107 | 119 | 130 | 142 | 154 | 166 |
| 0.75 | 67 | 78 | 89 | 100 | 111 | 122 | 133 | 144 | 154 |
| 0.80 | 63 | 73 | 83 | 94 | 104 | 114 | 124 | 135 | 145 |
| 0.85 | 59 | 69 | 79 | 88 | 98 | 107 | 117 | 127 | 136 |
| 0.90 | 56 | 65 | 74 | 83 | 92 | 101 | 111 | 120 | 129 |
| 0.95 | 53 | 62 | 70 | 79 | 88 | 98 | 105 | 113 | 116 |
| 1.00 | 50 | 59 | 67 | 75 | 83 | 91 | 100 | 108 | 116 |

Table 808.2.2(b) — Minimum surface area of acoustical treatment for large classrooms.

| Sound absorption coefficient, α1 | Ceiling height, H, ft. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |
|  | Ceiling height, H, m. |  |  |  |  |  |  |  |  |
|  | 2.44 | 2.74 | 3.05 | 3.35 | 3.66 | 3.96 | 4.27 | 4.57 | 4.88 |
|  | Minimum combined area of wall and ceiling sound-absorbing material as a percentage of the floor area |  |  |  |  |  |  |  |  |
| 0.45 | 91 | 107 | 122 | 138 | 154 | 169 | 185 | 200 | 216 |
| 0.50 | 82 | 96 | 110 | 124 | 138 | 152 | 166 | 180 | 194 |
| 0.55 | 75 | 87 | 100 | 113 | 126 | 138 | 151 | 164 | 177 |
| 0.60 | 68 | 80 | 92 | 104 | 115 | 127 | 139 | 150 | 162 |
| 0.65 | 63 | 74 | 85 | 96 | 106 | 117 | 128 | 139 | 149 |
| 0.70 | 59 | 69 | 79 | 89 | 99 | 109 | 119 | 129 | 139 |
| 0.75 | 55 | 64 | 73 | 83 | 92 | 102 | 111 | 120 | 130 |
| 0.80 | 51 | 60 | 69 | 78 | 86 | 95 | 104 | 113 | 121 |
| 0.85 | 48 | 57 | 65 | 73 | 81 | 90 | 98 | 106 | 114 |
| 0.90 | 46 | 53 | 61 | 69 | 77 | 85 | 92 | 100 | 108 |
| 0.95 | 43 | 51 | 58 | 65 | 73 | 80 | 88 | 95 | 102 |
| 1.00 | 41 | 48 | 55 | 62 | 69 | 76 | 83 | 90 | 97 |

808.3 Ambient Sound Level.  Ambient sound levels within a classroom shall comply with Section 808.3.  Ambient sound levels from exterior and interior sound sources shall be evaluated individually. The greatest one-hour averaged sound levels shall be evaluated at a height of 36 inches (915 mm) above the floor and no closer than 36 inches (915 mm)  from any wall, window, or fixed object. Ambient sound levels shall apply to fully furnished classrooms while not in use.

808.3.1 Exterior Sound Sources. Ambient sound levels within a classroom 20,000 cubic feet (565 m3) maximum shall not exceed 35 dBA and 55 dBC for noise intrusion from exterior sound sources.

808.3.2 Interior Sound Sources. Ambient sound levels within a classroom not larger than 20,000 cubic feet (565 m3) shall not exceed 35 dBA and 55 dBC, for noise from interior sound sources.

# Chapter 9

# 9-1– 12

Revise as follows:

901.1 Scope. Built-in furnishings and equipment required to be accessible by the scoping provisions adopted by the administrative authority shall comply with the applicable provisions of Chapter 9.

905.1 General. Accessible built-in storage facilities shall comply with Section 905.

# 9-2– 12

Revise as follows:

1003.12.3 Work Surface. At least one section of counter shall provide a work surface 30 inches (760 mm) minimum in length complying with Section 1003.12.3.

1003.12.3.1 Clear Floor Space. A clear floor space, positioned for a forward approach to the work surface, shall be provided. Knee and toe clearance complying with Section 306 shall be provided. The clear floor space shall be centered on the work surface.

EXCEPTION: Cabinetry shall be permitted under the work surface, provided the following criteria are met:

- the cabinetry can be removed without removal or replacement of the work surface,

- the floor finish extends under such cabinetry, and the walls behind and surrounding cabinetry are finished.

9-4– 12

Revise as follows:

903.2 Clear Floor Space. A clear floor space complying with Section 305, positioned for a parallel approach to the bench seat, shall be provided. at the end of the bench seat and parallel to the short axis of the bench.

Exception.  A clear floor space positioned for a parallel approach to the front of the bench seat, shall be permitted where a clear floor space is also positioned at the end the bench seat.

# 9-6– 12

Revise as follows:

904.3   Sales and Service Counters.   Sales and service counters shall comply with Section 904.3.1 or 904.3.2. The accessible portion of the countertop shall extend the same depth as the sales and service countertop.

EXCEPTION:  In alterations, when the provision of a counter complying with Section 904.4 would result in a reduction of the number of existing counters at work stations or a reduction of the number of existing mail boxes, the counter shall be permitted to have a portion which is 24 inches (610 mm) long minimum complying with Section 904.4.1 provided that the required clear floor space is centered on the accessible length of the counter.

# 9-7– 12

Revise as follows:

904.3 Sales and Service Counters.  Sales and service counters shall comply with Section 904.3.1 or 904.3.2.  The accessible portion of the countertop shall extend the same depth as the public portion of the sales and service countertop.

# 9-9– 12

Revise as follows:

904.3 Sales and Service Counters and Windows. Sales and service counters and windows shall comply with Section 904.3.1 or 904.3.2. Where counters are provided, the accessible portion of the countertop shall extend the same depth as the sales and service countertop.

# 9-10– 12

Revise as follows:

904.3 Sales and Service Counters. Sales and service counters and windows shall comply with Sections 904.3.1 or and 904.3.2 or 904.3.3.  Where a counter is provided, the accessible portion of the countertop shall extend the same depth as the sales and service countertop provided for standing customers.

904.3.1 Vertical separation.  At service windows or service counters, any vertical separation shall be at a height of 43 inches (1090 mm) maximum above the floor.

Exception:  Transparent security glazing is permitted above the 43 inches (1090 mm) maximum height.

904.3.1 904.3.2 Parallel Approach. A portion of the counter surface 36 inches (915 mm) minimum in length and 26 inches (660 mm) minimum to 36 inches (915 mm) maximum in height above the floor shall be provided. Where the counter surface is less than 36 inches (915 mm) in length, the entire counter surface shall be 26 inches (660 mm) minimum to 36 inches (915 mm) maximum in height above the floor. A clear floor space complying with Section 305, positioned for a parallel approach adjacent to the accessible counter, shall be provided.  The space between the accessible counter surface and any projecting objects above the accessible counter shall be 12 inches (305 mm) minimum.

904.3.2 904.3.3 Forward Approach. A portion of the counter surface 30 inches (760 mm) minimum in length and 36 inches (915 mm) maximum in height above the floor shall be provided. A clear floor space complying with Section 305, positioned for a forward approach to the accessible counter, shall be provided. Knee and toe clearance complying with Section 306 shall be provided under the accessible counter. The space between the accessible counter surface and any projecting objects above the accessible counter shall be 12 inches (305 mm) minimum.

# 9-12– 12

Add new text as follows:

905 Gaming machines and tables

905.1 Clear Floor Space. Accessible gaming machines and tables shall have a clear floor space complying with Section 305 positioned for transfer or for use by an individual seated in a wheelchair. Clear floor spaces required at gaming machines and tables shall be permitted to overlap.

EXCEPTION:  Gaming tables or machines complying with Section 902 are not required to comply with Section 905.1.

# 9-13 – 12

Revise as follows:

905.1 General. Accessible storage facilities shall comply with Section 905.

EXCEPTION: Kitchen cabinets are not required to comply with Section 905.

# Chapter 10

# 10-1 – 12

Chapter 10, Chapter 11 - Revise as follows:

Chapters 10 and 11: Renumber all sections the standard to exchange the order of these 2 chapters.

# 10-2– 12

Add new text as follows:

1001.2 Mail Receptacles.  Where provided, mail receptacles shall be accessible in accordance with Section 1001.2.1 or 1001.2.2.

1001.2.1 Dwelling Units and Sleeping Units.  Where mail receptacles are provided for Accessible, Type A or Type B dwelling and sleeping units, accessible mail receptacles shall be provided in accordance with Section 1001.2.1.1 or 1001.2.1.2.

1001.2.1.1  Centralized Mail Receptacles.  Where each individual mail compartment of a centralized mail receptacle is assigned to a specific dwelling unit or sleeping unit, the individual mail compartments shall comply with Section 1001.2.1.1.1 or 1001.2.1.1.2.

1001.2.1.1.1  Buildings Without an Elevator.  In a structure without an elevator, all individual mail compartments assigned to Accessible units, Type A units and Type B units in each location shall be accessible.

1001.2.1.1.2 Buildings with an Elevator.  In a structure with an elevator, fifty percent of all individual mail compartments in each location shall be accessible.  Individual mail compartments assigned to Accessible and Type A units shall be included in the accessible mailboxes.  In addition to the individual mail compartments assigned to dwelling or sleeping units, an additional number of individual mail compartments that is equal to ten percent of the total number of dwelling units and sleeping units, but not less than one, at each location shall be accessible.

1001.2.1.1.3 Parcel Lockers. All parcel lockers of centralized mail receptacles shall be accessible.

1001.2.1.2 Individual House-mounted and Curbside Mail Receptacles.  Where an individual house-mounted or curbside mail receptacle serves a dwelling unit or sleeping unit that is required to be an Accessible unit, Type A unit or Type B unit, the mail receptacle shall be accessible.

# 10-4– 12

Revise as follows:

1002.5 Doors and Doorways. The primary entrance door to the unit, and all other doorways intended for user passage, shall comply with Section 404.

EXCEPTIONS:

- Existing doors to hospital patient sleeping rooms shall be exempt from the requirement for space at the latch side provided the door is 44 inches (1120 mm) minimum in width.

- In toilet rooms and bathrooms not required to comply with Section 1002.11.2, maneuvering clearances required by Section 404.2.3 are not required on the toilet room or bathroom side of the door.

- A turning space between doors in a series as required by Section 404.2.5 is not required.

- Storm and screen doors are not required to comply with Section 404.2.5.

- Communicating doors between individual sleeping units are not required to comply with Section 404.2.5.

- At other than the primary entrance door, where exterior space dimensions of balconies are less than the required maneuvering clearance, door maneuvering clearance is not required on the exterior side of the door.

- The maneuvering clearances required by Section 404 are not required within a closet or pantry complying with Exception 2 of Section 1002.3.2.

1003.5 Doors and Doorways. The primary entrance door to the unit, and all other doorways intended for user passage, shall comply with Section 404.

EXCEPTIONS:

(Exception 1 through 6 are not changed)

7.   The maneuvering clearances required by Section 404 are not required within a closet or pantry complying with Exception 2 of Section 1003.3.2.

# 10-6– 12

Revise as follows:

1002.9 Operable Parts. Lighting controls, electrical panelboards, electrical switches and receptacle outlets, environmental controls, appliance controls, operating hardware for operable windows, plumbing fixture controls, and user controls for security or intercom systems shall comply with Section 309.

EXCEPTIONS: (no change to exceptions)

1003.9 Operable Parts. Lighting controls, electrical panelboards, electrical switches and receptacle outlets, environmental controls, appliance controls, operating hardware for operable windows, plumbing fixture controls, and user controls for security or intercom systems shall comply with Section 309.

EXCEPTIONS: (no change to exceptions)

# 10-8– 12

Revise as follows:

1002.9 Operable Parts. Lighting controls, electrical panelboards, electrical switches and receptacle outlets, environmental controls, appliance controls, operating hardware for operable windows, plumbing fixture controls, and user controls for security or intercom systems shall comply with Section 309.

EXCEPTIONS:

1.   Receptacle outlets serving a dedicated use.

2.   In a kitchen, where two or more receptacle outlets are provided in a kitchen above a length of counter top that is uninterrupted by a sink or appliance, only one receptacle outlet shall not be required to comply with Section 309.

3.   In a kitchen, where a clear floor space for a parallel approach cannot be located at a counter top in a corner between appliances, receptacle outlets over the counter top shall not be required to comply with Section 309 provided that the counter top is 7 square feet (0.65 m2) maximum.

(Remaining exceptions are renumbered by unchanged)

1003.9 Operable Parts. Lighting controls, electrical panel boards, electrical switches and receptacle outlets, environmental controls, appliance controls, operating hardware for operable windows, plumbing fixture controls, and user controls for security or intercom systems shall comply with Section 309.

EXCEPTIONS:

1.   Receptacle outlets serving a dedicated use.

2.   In a kitchen, where two or more receptacle outlets are provided in a kitchen above a length of counter top that is uninterrupted by a sink or appliance, only one receptacle outlet shall not be required to comply with Section 309.

3.   In a kitchen, where a clear floor space for a parallel approach cannot be located at a counter top in a corner between appliances, receptacle outlets over the counter top shall not be required to comply with Section 309 provided that the counter top is 7 square feet (0.65 m2) maximum.

(Remaining exceptions are renumbered by unchanged)

1004.9 Operable Parts. Lighting controls, electrical switches and receptacle outlets, environmental controls, electrical panelboards, and user controls for security or intercom systems shall comply with Section 309.2 and 309.3.

EXCEPTIONS:

- Receptacle outlets serving a dedicated use.

- In a kitchen, where two or more receptacle outlets are provided in a kitchen above a length of counter top that is uninterrupted by a sink or appliance, only one receptacle outlet shall not be required to comply with Sections 309.2 and 309.3.

- In a kitchen, where a clear floor space for a parallel approach cannot be located at a counter top in a corner between appliances, receptacle outlets over the counter top shall not be required to comply with Sections 309.2 and 309.3 provided that the counter top is 7 square feet (0.65 m2) maximum.

(Remaining exceptions are renumbered by unchanged)

# 10-10– 12

Add new text as follows:

1002.9 Operable Parts.  Lighting controls, electrical panelboards, electrical switches and receptacle outlets, environmental controls, appliance controls, operating hardware for operable windows, plumbing fixture controls, and user controls for security or intercom systems shall comply with Sections 1002.9 and 309.

EXCEPTIONS: (remain unchanged)

1002.9.1 Wheelchair Charging Area.  A wheelchair charging area shall be adjacent to one bed.  A clear floor space complying with Section 305 shall be located between the bedside and a parallel wall.  The parallel wall shall be 36 inches (915 mm) minimum to 48 inches (1220 mm) maximum from the bed and provide a 110V duplex receptacle outlet located 24 inches (610 mm) minimum and 48 inches (1220 mm) maximum from the head wall of the bed and complying with Section 1002.9.

Exception:  Where there is no parallel wall within 36 inches (915 mm) minimum to 48 inches (1220 mm) maximum of the bedside, a clear floor space complying with Section 305 shall be along the wall at the head of one bed.  A 110V duplex receptacle outlet complying with Section 1002.9 shall be located along the wall at the bed head and within 24 inches (610 mm) minimum and 48 inches (1220 mm) maximum of the bedside.

106 Definitions

wheelchair charging area:  A clear floor area where people with disabilities can recharge their wheelchair batteries.

# 10-13– 12

Add new text as follows:

1002.15.3 Bed Height. At least one bed shall measure 17 to 23 inches (430 to 585 mm) high from the floor to the top of the mattress, whether or not the mattress is compressed.

# 10-16 – 12

Revise as follows:

1003.5 Doors and Doorways. The primary entrance door to the unit, and all other doorways intended for user passage, shall comply with Section 404.

EXCEPTIONS:

- Thresholds at exterior sliding doors shall be permitted to be 3/4 inch (19 mm) maximum in height, provided they are beveled with a slope not greater than 1:2.

2. 1.	In toilet rooms and bathrooms not required to comply with Section 1003.11.2, maneuvering clearances required by Section 404.2.3 are not required on the toilet room or bathroom side of the door.

3. 2.	A turning space between doors in a series as required by Section 404.2.5 is not required.

4. 3.	Storm and screen doors are not required to comply with Section 404.2.5.

5. 4.	Communicating doors between individual sleeping units are not required to comply with Section 404.2.5.

6. 5.	At other than the primary entrance door, where exterior space dimensions of balconies are less than the required maneuvering clearance, door maneuvering clearance is not required on the exterior side of the door.

# 10-21– 12

Revise as follows:

1003.12.4.1 Clear Floor Space. A clear floor space, positioned for a forward approach to the sink, shall be provided. Knee and toe clearance complying with Section 306 shall be provided.

EXCEPTIONS:

- The requirement for knee and toe clearance shall not apply to more than one bowl of a multi-bowl sink.

- Cabinetry shall be permitted to be added under the sink, provided the following criteria are met:

- The cabinetry can be removed without removal or replacement of the sink,

- The floor finish extends under the cabinetry, and

- The walls behind and surrounding the cabinetry are finished.

- A parallel approach complying with Section 305 and centered on the sink, shall be permitted at a kitchen sink in a space where a cook top or conventional range is not provided.

- A parallel approach complying with Section 305 and centered on the sink, shall be permitted at wet bars.

# 10-22– 12

Revise as follows:

1003.12.5.5 Oven. Ovens shall comply with Section 1003.12.5.5. Ovens shall have controls on front panels, on either side of the door.

# 10-28– 12

Revise as follows:

1004.10.1 Clear Floor Space. A clear floor space complying with Section 305.3, shall be provided for each washing machine and clothes dryer. A parallel approach shall be provided for a top loading machine. A forward or parallel approach shall be provided for a front loading machine.

# 10-30 – 12

Revise as follows:

1004.11.3.1.3.3 Shower Compartment. If a shower compartment is the only bathing facility, the shower compartment shall have dimensions of 36 inches (915 mm) minimum in width and 36 inches (915 mm) minimum in depth. A clearance of 48 inches (1220 mm) minimum in length, measured perpendicular from the shower head wall, and 30 inches (760 mm) minimum in depth, measured from the face of the shower compartment, shall be provided. Reinforcing for a shower seat is not required in shower compartments larger than 36 inches (915 mm) in width and 36 inches (915 mm) in depth.

# 10-31– 12

Revise as follows:

1004.11.3.1.3.3 Shower Compartment. If a shower compartment is the only bathing facility, the shower compartment shall have dimensions of 36 inches (915 mm) minimum in width and 36 inches (915 mm) minimum in depth. A clearance of 48 inches (1220 mm) minimum in length, measured perpendicular from the shower head wall, and 30 inches (760 mm) minimum in depth, measured from the face of the shower compartment, shall be provided. Reinforcing for a shower seat is not required in shower compartments larger than 36 inches (915 mm) in width and 36 inches (915 mm) in depth.

EXCEPTION:  A shower compartment with dimensions of 30 inches (760 mm) minimum in depth and 44 inches (1120 mm) minimum in width shall be permitted.

# 10-35– 12

Revise as follows:

1004.12.2.5 Refrigerator/Freezer. A clear floor space, positioned for a parallel approach to the refrigerator/freezer, shall be provided.  The centerline of the clear floor space shall be offset 24 inches (610 mm) maximum from the centerline of the appliance. The refrigerator/freezer shall comply with Section 1004.12.2.5.

1004.12.2.5.1 Approach.  A clear floor space positioned for a parallel or forward approach to the refrigerator/freezer shall be provided.

1004.12.2.5.2 Forward Approach.  Where the clear floor space is positioned for a forward approach, the centerline of the clear floor space shall be offset 15 inches (380 mm) maximum from the centerline of the appliance.

1004.12.2.5.3 Parallel Approach.  Where the clear floor space is positioned for a parallel approach, the centerline of the clear floor space shall be offset 24 inches (610 mm) maximum from the centerline of the appliance.

# 10-36 – 12

Revise as follows:

1005.7 Food Preparation Area. At a minimum, the food preparation area shall include a sink, a cooking appliance, and a refrigerator. Clearances between all opposing base cabinets, counter tops, appliances or walls within the food preparation area shall be 40 inches (1015 mm) minimum in width.

EXCEPTION: Spaces that do not provide a cooktop or conventional range shall be permitted to provide a clearance of 36 inches (915 mm) minimum in width.

# 10-37 – 12

Revise as follows:

1006.5.1 Notification. A hard–wired electric doorbell shall be provided. A button or switch shall be provided on the public side of the unit primary entrance. Activation of the button or switch shall initiate an audible tone within the unit. Where visible doorbell signals are located in sleeping areas, controls shall be provided to deactivate the signal.

# 10-38– 12

Revise as follows:

1003.11.2.5.1 Bathtub. Bathtubs shall comply with Section 607.

EXCEPTIONS:

1.	The removable in-tub seat required by Section 607.3 is not required.

2 1..	Counter tops and cabinetry shall be permitted at one end of the clearance, provided the following criteria are met:

(a)	The countertop and cabinetry can be removed;

(b)	The floor finish extends under the countertop and cabinetry; and

(c)	The walls behind and surrounding the countertop and cabinetry are finished.

# Chapter 11

# 11-1– 12

Revise as follows:

1101.2 .1 General Exceptions. The following shall not be required to be accessible or to be on an accessible route:

- Raised structures used solely for refereeing, judging, or scoring a sport.

- Water Slides.

- Animal containment areas that are not for public use.

- Raised boxing or wrestling rings.

- Raised diving boards and diving platforms.

- Bowling lanes that are not required to provide wheelchair spaces.

- Mobile or portable amusement rides

- Amusement rides that are controlled or operated by the rider.

- Amusement rides designed primarily for children, where children are assisted on and off the ride by an adult.

- Amusement rides that do not provide amusement ride seats.

11.	Shooting facilities with firing positions on free-standing platforms that are elevated above grade 12 feet (3660 mm) minimum provided that the aggregate area of elevated firing positions is 500 square feet (46 m2) maximum.

# 11-2 – 12

Revise as follows:

1101.2.3 Recreational Boating Facilities.  Operable parts of cleats and other boat securement devices shall not be required to comply with Section 308.

1103.2.1 Boat Slips. An accessible route shall serve boat slips.

EXCEPTIONS:

(Exceptions 1 through 8 remain unchanged.)

9.  Cleats and other boat securement devices shall not be required to comply with Section 309.3 308.

1103.2.2 Boarding Piers at Boat Launch Ramps.  An accessible route shall serve boarding piers.

EXCEPTIONS:

- Accessible routes serving floating boarding piers shall be permitted to use Exceptions 1, 2, 5, 6, 7, and 8 and 9 in Section1103.2.1.

- Where the total length of the gangway or series of gangways serving as part of a required accessible route is 30 feet (9145 mm) minimum, gangways shall not be required to comply with Section 405.2.

- Where the accessible route serving a floating boarding pier or skid pier is located within a boat launch ramp, the portion of the accessible route located within the boat launch ramp shall not be required to comply with Section 405.

# 11-3 – 12

Revise as follows:

1102.4.3 Gaps. Floors of amusement rides with wheelchair spaces and floors of load and unload areas shall be coordinated so that, when amusement rides are at rest in the load and unload position, the vertical difference between the floors shall be within plus or minus 5/8 inch (16 mm) and the horizontal gap shall be 3 inches (75 mm) maximum under normal passenger load conditions.

EXCEPTION: Where complying is not operationally or structurally feasible, ramps, bridge plates, or similar devices complying with the applicable requirements of 36 CFR 1192.83(c), listed in Section 105.2.11, shall be provided.  Handrails on the ramps, bridge plates or similar devices are permitted to comply with either the requirements of Section 505 or the requirements of 36 CFR 1192.83(c).

# 11-4 – 12

Revise as follows:

1102.5 Amusement Ride Seats Designed for Transfer or transfer devices. Amusement ride seats designed for transfer or transfer devices shall comply with Section 1102.5 when positioned for loading and unloading.

1102.5.1 Clear Floor Space. A clear floor space complying with Section 305 shall be provided in the load and unload area adjacent to the amusement ride seats designed for transfer or transfer devices.

1102.5.2 Transfer Height. The height of amusement ride seats designed for transfer or transfer devices shall be 14 inches (355 mm) minimum and 24 inches (610 mm) maximum measured from the surface of the load and unload area.

1102.5.4 Wheelchair Storage Space. Wheelchair storage spaces complying with Section 305 shall be provided in or adjacent to unload areas for each required amusement ride seat designed for transfer or transfer devices and shall not overlap any required means of egress or accessible route.

1102.6 Transfer Devices for Use with Amusement Rides. Transfer devices for use with amusement rides shall comply with Section 1102.6 when positioned for loading and unloading.

1102.6.1 Clear Floor Space. A clear floor space complying with Section 305 shall be provided in the load and unload area adjacent to the transfer device.

1102.6.2 Transfer Height. The height of transfer device seats shall be 14 inches (355 mm) minimum and 24 inches (610 mm) maximum measured from the load and unload surface.

1102.6.3 Wheelchair Storage Space. Wheelchair storage spaces complying with Section 305 shall be provided in or adjacent to unload areas for each required transfer device and shall not overlap any required means of egress or accessible route.

# 11-5 – 12

Revise as follows:

1103.2.1 Boat Slips. An accessible route shall serve boat slips.

EXCEPTIONS:

(Exceptions 1 through 7 are unchanged)

8.   Changes in level complying with Sections 303.3 and 303.4 shall be permitted on the surfaces of gangways and boat launch ramps piers.

9.   Cleats and other boat securement devices shall not be required to comply with Section 309.3.

# 11-6 – 12

Revise as follows:

1103.3.1 Boat Slip Clearance. At Boat slips and on boarding piers at boat launch ramps shall provide clear pier space 60 inches (1525 mm) minimum in width that extend the full length of the boat slips or boarding pier. Each 10 feet (3050 mm) of linear pier edge serving boat slips or boarding pier shall contain at least one continuous clear opening 60 inches (1525 mm) minimum in width.

EXCEPTIONS:

- Clear pier space shall be permitted to be 36 inches (915 mm) minimum in width and 24 inches (610 mm) maximum in length, provided that multiple 36-inch (915 mm) wide segments are separated by segments that are 60 inches (1525 mm) minimum in width and 60 inches (1525 mm) minimum in length.

- Edge protection shall be permitted at the continuous clear openings, provided the edge protection is 4 inches (100 mm) maximum in height and 2 inches (51 mm) maximum in width.

- In existing piers for boat slips, clear pier space shall be permitted to be located perpendicular to the boat slip and shall extend the width of the boat slip, where the facility has at least one boat slip complying with Section 1103.3, and further compliance with Section 1103.3 would result in a reduction in the number of boat slips available or result in a reduction of the widths of existing slips.

1103.3.2 Boarding Pier Clearances. Boarding piers at boat launch ramps shall provide clear pier space 60 inches (1525 mm) minimum in width and shall extend the full length of the boarding pier. Every 10 feet (3050 mm) of linear pier edge shall contain at least one continuous clear opening 60 inches (1525 mm) minimum in width.

EXCEPTIONS:

- The clear pier space shall be permitted to be 36 inches (915 mm) minimum in width and 24 inches (610 mm) maximum in length provided that multiple 36-inch (915 mm) wide segments are separated by segments that are 60 inches (1525 mm) minimum in width and 60 inches (1525 mm) minimum in length.

2.	Edge protection shall be permitted at the continuous clear openings provided the edge protection is 4 inches (100 mm) maximum in height and 2 inches (51 mm) maximum in width.

# 11-7– 12

Revise as follows:

1105.2 Railings. Where provided along the perimeter of fishing piers or platforms, railings, or guards, or handrails shall comply with Section 1105.2.

EXCEPTION: Where a guard complying with the applicable building code is provided, the guard shall not be required to comply with Section 1105.2.

1105.2.1 Height. A minimum of 25 percent of the railings, guards or handrails shall be 34 inches (865 mm) maximum above the ground or deck surface.

EXCEPTION: Where a guard complying with the applicable building code is provided, the guard shall not be required to comply with Section 1105.2.1.

1105.2.1.1 Dispersion. Railings, guards or handrails required to comply with Section 1105.2.1 shall be dispersed throughout the fishing pier or platform.

1105.3 Edge Protection. Where railings, guards or handrails complying with Section 1105.2 are provided, edge protection complying with Section 1105.3.1 or 1105.3.2 shall be provided.

1105.3.1 Curb or Barrier. Curbs or barriers shall extend be a minimum of 2 inches (51 mm) minimum in height above the surface of the fishing pier or platform.

1105.3.2 Extended Ground or Deck Surface.  The ground or deck surface shall extend 12 inches (305 mm) minimum beyond the inside face of the railing. Toe clearance shall be provided and shall be 30 inches (760 mm) minimum in width and 9 inches (230 mm) minimum in height above the ground or deck surface beyond the railing.

1105.4 Clear Floor Space. At each location where there are railings, guards or handrails complying with Section 1105.2.1, a clear floor space complying with Section 305 shall be provided. Where there are no railings, guards, or handrails, at least one clear floor space complying with Section 305 shall be provided on the fishing pier or platform.

# 11-8 – 12

Revise as follows:

1106.2 Accessible Routes. Accessible routes serving teeing grounds, practice teeing grounds, putting greens, practice putting greens, teeing stations at driving ranges, course weather shelters, golf car rental areas, bag drop areas, and course toilet rooms shall comply with Chapter 4.  Exterior routes and shall be 48 inches (1220 mm) minimum in width. Where handrails are provided, accessible routes shall be 60 inches (1525 mm) minimum in width.

EXCEPTIONS:

- Handrails shall not be required on golf courses. Where handrails are provided on golf courses, the handrails shall not be required to comply with Section 505.

- Accessible golf car passages in accordance with Section 1106.3 shall be permitted to be used for all or part of accessible routes required by this section.

1106.2.1 Teeing Grounds. Where one teeing ground is provided for a hole, the teeing ground shall be designed and constructed so that a golf car can enter and exit the teeing ground. Where two teeing grounds are provided for a hole, the teeing ground closest to the hole shall be designed and constructed so that a golf car can enter and exit the teeing ground. Where three or more teeing grounds are provided for a hole, at least two teeing grounds, including the teeing ground closest to the hole, shall be designed and constructed so that a golf car can enter and exit each teeing ground.

EXCEPTION: Where existing golf courses are being altered, the forward teeing ground shall not be required to be one of the teeing grounds on a hole designed and constructed so that a golf car can enter and exit the teeing ground where compliance is not feasible due to terrain.

1106.2.2 Putting Greens. Putting greens shall be designed and constructed so that a golf car can enter and exit the putting green.

1106.2.3 Practice Putting Greens, Practice Teeing Grounds, and Teeing Stations at Driving Ranges. At least 5 percent, but no fewer than one, of practice putting greens, practice teeing grounds, and teeing stations at driving ranges shall be designed and constructed so that a golf car can enter and exit.

1106.4 1106.2.4 Weather Shelters. Where provided, weather shelters shall be designed and constructed so that a golf car can enter and exit the weather shelter. A clear floor space 60 inches (1525 mm) minimum by 96 inches (2440 mm) minimum shall be provided within weather shelters.

# 11-9 – 12

Revise as follows:

1106.2 Accessible Routes. Accessible routes serving teeing grounds, practice teeing grounds, putting greens, practice putting greens, teeing stations at driving ranges, course weather shelters, golf car rental areas, bag drop areas, and course toilet rooms shall comply with Chapter 4 and shall be 48 inches (1220 mm) minimum in width. Where handrails guards, barriers or rails are provided, accessible routes shall be 60 inches (1525 mm) minimum in width.

EXCEPTION: Handrails shall not be required on golf courses. Where handrails are provided on golf courses, the handrails shall not be required to comply with Section 505.

# 11-10 – 12

Revise as follows:

1107.2 Accessible Routes. Accessible routes serving holes on miniature golf courses shall comply with Chapter 4.

EXCEPTIONS:

Accessible routes located on playing surfaces of miniature golf holes shall be permitted to comply with the following:

- Playing surfaces shall not be required to comply with Section 302.2.

- Where accessible routes intersect playing surfaces of holes, a curb that is 1 inch (25 mm) maximum in height and 32 inches (815 mm) minimum in width shall be permitted.

- A slope of 1:4 maximum shall be permitted for a rise of 4-inches (100 mm) maximum.

- Ramp landing slopes specified by Section 405.7.1 shall be permitted to be 1:20 maximum.

- Ramp landing length specified by Section 405.7.3 shall be permitted to be 48 inches (1220 mm) minimum.

- Ramp landing size at a change in direction specified by Section 405.7.4 shall be permitted to be 48 inches (1220 mm) minimum by 60 inches (1525 mm) minimum.

- Handrails shall not be required along ramps located on the playing surface on holes. Where handrails are provided on holes, the handrails shall not be required to comply with Section 505.

# 11-12– 12

Revise as follows:

1108.4 Accessible Routes Within Play Areas.  Accessible routes within play areas shall comply with Section 1108.4.

1108.4.1 Accessible Routes. Accessible routes serving play areas shall comply with Chapter 4 and Section 1108.4.1 and shall be permitted to use the exceptions in Sections 1108.4.1.1 through 1108.4.1.3. Where accessible routes serve ground level play components, the vertical clearance shall be 80 inches (2030 mm) minimum in height.

EXCEPTIONS:

1.   Where 20 or more elevated play components are provided, transfer systems complying with Section 1108.4.2. shall be permitted to be used as part of an accessible route for a maximum of 25 percent of the play components.

2.   Where fewer than 20 elevated play components are provided, transfer systems complying with Section 1108.4.2 shall be permitted to be used as part of an accessible route.

3.   Where transfer systems are provided, an elevated play component shall be permitted to connect to another elevated play component as part of an accessible route.

4.   Accessible routes serving soft contained play structures shall be permitted to use transfer systems complying with Section 1108.4.2 as part of an accessible route.

5.   Where the surface of the accessible route, clear floor spaces, or turning spaces serving water play components is submerged, complying with Sections 302, 403.3, 405.2, 405.3, and 1108.4.1.6 shall not be required.

6.   Accessible routes serving water play components shall be permitted to use transfer systems complying with Section 1108.4.2 to connect elevated play components in water.

1108.4.1.1 Ground Level and Elevated Play Components. Accessible routes serving ground level play components and elevated play components shall be permitted to use the exceptions in Section 1108.4.1.1.

EXCEPTIONS:

1. 	Transfer systems complying with Section 1108.4.2 shall be permitted to connect elevated play components except where 20 or more elevated play components are provided no more than 25 percent of the elevated play  components shall be permitted to be connected by transfer systems.

2. 	Where transfer systems are provided, an elevated play component shall be permitted to connect to another elevated play component as part of an accessible route.

1108.4.1.2 Soft Contained Play Structures. Accessible routes serving soft contained play structures shall be permitted to use the exception in Section 1108.4.1.2.

EXCEPTION: Transfer systems complying with Section 1108.4.2 shall be permitted to be used as part of an accessible route.

1108.4.1.3 Water Play Components. Accessible routes serving water play components shall be permitted to use the exceptions in Section 1108.4.1.3.

EXCEPTIONS:

1. 	Where the surface of the accessible route, clear floor spaces, or turning spaces serving water play components is submerged, complying with Sections 302, 403.3, 405.2, 405.3, and 1108.4.1.6 shall not be required.

2. 	Transfer systems complying with Section 1108.4.2 shall be permitted to connect elevated play components in water.

# 11-14 – 12

Revise as follows:

1108.4.1.5 Ramps. Within play areas, ramps connecting ground level play components and ramps connecting elevated play components shall comply with Section 405 except at modified by Section 1108.4.1.5.

11-16– 12

Revise as follows:

1109.3.1 Sloped Entry Route. Sloped entries shall comply with Chapter 4 Sections 402, 403 and 405 except as modified by Sections 1109.3.1 through 1109.3.3.

EXCEPTION: Where sloped entries are provided, the surfaces shall not be required to be slip resistant.

# 11-17– 12

Revise as follows:

1109.6.1 Pool Stairs. Pool stairs shall comply with Sections 504 504.2 through 504.5.

EXCEPTION: Pool step risers shall not be required to be 4 inches (100 mm) minimum and 7 inches (180 mm) maximum in height provided that riser heights are uniform.

1109.6.2 Handrails. At least two handrails complying with Section 505 shall be provided on the pool stairs.  The width between handrails shall be 20 inches (510 mm) minimum and 24 inches (610 mm) maximum.

EXCEPTION:  Handrail extensions required by Section 505.10.3 shall not be required at the bottom on pool stairs.

# 11-18 – 12

Add new text as follows:

1110.2 Firing position counters.  Where a firing position requires shooting over a counter or wall, the top of the counter or wall shall be 34 inches (865 mm) maximum in height above the floor surface.  Where counter surfaces are provided at other firing positions of the same type, equivalent counter surfaces shall be provided at the accessible firing position.