CTC WINDOW SAFETY STUDY GROUP

2009/2010 CYCLE DRAFT PROPOSALS

3/27/09

These draft proposals are follow-up proposals to RB 173-07/08.

CODE CHANGE #1: IBC AND IRC: REFERENCE TO UPDATED ASTM F2090

IRC R612.2 Window sills. In dwelling units, where the opening of an operable window is located more than 72 inches (1829 mm) above the finished grade or surface below, the lowest part of the clear opening of the window shall be a minimum of 24  inches (610 mm) above the finished floor of the room in which the window is located. Operable sections of windows shall not permit openings that allow passage of a 4 inch diameter sphere where such openings are located within 24 inches of the finished floor.

Exceptions:

1.	Windows whose openings will not allow a 4-inch-diameter (102 mm) sphere to pass through the opening when the opening is in its largest opened position.

2.	Openings that are provided with window fall prevention devices that comply with R612.3.

3.	Openings that are provided with window fall prevention devices that comply with ASTM F 2090.

4.  Windows that are provided with window opening limiting control devices that comply with Section R612.4. R612.3.

R612.3 Window fall prevention devices. Window fall prevention devices and window guards, where provided, shall comply with the requirements of ASTM F 2090.

R612.4  R612.3 Window opening limiting control devices. When required elsewhere in this code, window opening limiting control devices shall comply with the provisions of this section. ASTM F 2090.   The window opening control device, after operation to release the control device allowing the window to fully open, shall not reduce the minimum net clear opening area of the window unit to less than the area required by Section R 310.1.1.  The device or any portion thereof shall not project more than 1 inch into the required net clear opening for a length not exceeding 3 inches when the window is in the fully open position.

R612.4.1 General requirements. Window opening limiting devices shall be self  acting and shall be positioned so as to prohibit the free passage of a 4.0-in. (102-mm) diameter rigid sphere through the window opening when the window opening limiting device is installed in accordance with the manufacturer’s instructions.

R612.4.2 Operation for Emergency Escape. Window opening limiting devices shall be designed with release mechanisms to allow for emergency escape through the window opening without the need for keys, tools or special knowledge. Window opening limiting devices shall comply with all of the following:

1.	Release of the window opening-limiting device shall require no more than 15 lbf (66 N) of force.

2.	The window opening limiting device release mechanism shall operate properly in all types of weather.

3.	Window opening limiting devices shall have their release mechanisms clearly identified for proper use in an emergency.

4.	The window opening limiting device shall not reduce the minimum net clear opening area of the window unit

below what is required by Section R310.1.1 of the code.

IBC 1405.13.2 Window sills. In Occupancy Groups R-2 and R-3, one- and two-family and multiple-family dwellings, where the opening of the sill portion of an operable window is located more than 72 inches (1829 mm) above the finished grade or other surface below, the lowest part of the clear opening of the window shall be a minimum of 24   inches (610 mm) above the finished floor surface of the room in which the window is located. Glazing between the floor and a height of 24  inches (610 mm) shall be fixed or have openings such that a 4-inch (102 mm) diameter sphere cannot pass through.  Operable sections of windows shall not permit openings that allow passage of a 4 inch diameter sphere where such openings are located within 24 inches of the finished floor.

Exceptions:

1.	Openings that are provided with window guards that comply with ASTM F 2006 or F 2090.

1.	Windows whose openings will not allow a 4-inch-diameter (102 mm) sphere to pass through the opening when the opening is in its largest opened position.

2.	Openings that are provided with window fall prevention devices that comply with ASTM F 2090.

3.  Windows that are provided with window opening control devices that comply with Section 1405.13.2.1..

IBC 1405.13.2.1 Window opening control devices. When required elsewhere in this code, window opening control devices shall comply with ASTM F 2090.   The window opening control device, after operation to release the control device allowing the window to fully open, shall not reduce the minimum net clear opening area of the window unit to less than the area required by Section 1029.2.  The device or any portion thereof shall not project more than 1 inch into the required net clear opening for a length not exceeding 3 inches when the window is in the fully open position.

Referenced standard update: Update reference of ASTM F2090 from the 2007 edition to the 2008 edition in both the IBC and IRC.

CODE CHANGE #2: IBC AND IRC: 36 INCH MIN SILL HEIGHT

IBC 1405.13.2 Window sills. In Occupancy Groups R-2 and R-3, one- and two-family and multiple-family dwellings, where the opening of the sill portion of an operable window is located more than 72 inches (1829 mm) above the finished grade or other surface below, the lowest part of the clear opening of the window shall be a minimum of 24  36 inches (610 mm) above the finished floor surface of the room in which the window is located. Glazing between the floor and a height of 24  36 inches (610 mm) shall be fixed or have openings such that a 4-inch (102 mm) diameter sphere cannot pass through.

Exception: No change

IRC R612.2 Window sills. In dwelling units, where the opening of an operable window is located more than 72 inches (1829 mm) above the finished grade or surface below, the lowest part of the clear opening of the window shall be a minimum of 24  36 inches (610 mm) above the finished floor of the room in which the window is located. Operable sections of windows shall not permit openings that allow passage of a 4 inch diameter sphere where such openings are located within 24  36 inches of the finished floor.

Exception: No change

Note: See also code change #2 for coordination of the last sentence of both codes relative to operable sections of the window.

CODE CHANGE #3: IBC ONLY – BUILDINGS > 75 HIGH

IBC 1405.13.2 Window sills. In Occupancy Groups R-2 and R-3, one- and two-family and multiple-family dwellings, where the opening of the sill portion of an operable window is located more than 72 inches (1829 mm) above the finished grade or other surface below, the lowest part of the clear opening of the window shall be a minimum of 24   inches (610 mm) above the finished floor surface of the room in which the window is located. Glazing between the floor and a height of 24 inches (610 mm) shall be fixed or have openings such that a 4-inch (102 mm) diameter sphere cannot pass through.

Exceptions:

1. 	Openings that are provided with window guards fall prevention devices that comply with ASTM F 2006 or F 2090.

2. Openings that are located greater than 75 feet above grade provided with window fall prevention devices that comply with ASTM F 2006..

Note: See also code change #2 for coordination of the last sentence of both codes relative to operable sections of the window.