## Jurisdiction Detail
Jurisdiction | Legislation Passed | Building Codes in effect
AL
AK | Effective Jan 1 2005, every dwelling with carbon fuel-burning appliance or attached garage must have carbon monoxide detection devices. They must have an alarm and be "installed and maintained according to manufacturers' recommendations." No distinction between new and existing.
Anchorage | March 2004: Requires on each floor, outside the sleeping area. (R-2, R-3, R-4, and I-1) wired in, battery backup, interconnected in new construction and remodel. Existing, outside sleeping area, "shall be permitted to be electrical outlet type with battery backup."
AZ
AR
CA
Berkley
CO
CT | Effective October 1, 2005, new residential one, two family housing required to have a CO detection and warning equipment.
DE
Wilmington | "Every building of residential or mixed occupancy in which there are one or more residential units" exceptions noted. Includes hotels.
FL
GA
HI
ID
IL
Chicago | Homes, apartments, class C buildings heated with CO-causing heat sources. Includes schools, nursing homes.
Frankfurt | All new construction.
Gurnee | No detail available.
Lake Forest | New construction and remodeling of buildings with sleeping facilities and fossil fuel burning appliances or attached garages.
Lincolnwood | New homes or remodels >$10,000 or when furnace replaced
IN
IA
Linn County |  | Every dwelling and dwelling unit EX if no noncombustion appliances (IC)
KS
KY
LA
ME
MD
MA
Abington | New residential construction, existing on change of ownership.
Marshfield | Carbon monoxide alarms required when fuel burning appliance or power vent system added to home. Gas inspector can enforce April 2005
Mashpee | Resale or refinance of older homes, new homes, and additions to older homes require the placement of one carbon monoxide (CO) detector in the home. Carbon monoxide detectors are required by a Town Bylaw that was approved at Annual Town Meeting in 1996. The Bylaw does not state where the carbon monoxide detector must be located or if it is battery powered or AC powered. (Source: Town website)
MI
Pontiac | Required in rental units by May 12, 2004; in owner occupied dwelling units by 2/12/2005.Rental requirements located on uppermost floor or story. Detector operated by self-monitored battery. In rental unites hardwired with battery backup. Interconnected.
MN |  | Minnesota's New Home Building Energy Code requires CO detector if a home has combustion appliances that are not direct vented.
MS
MO
St. Louis | New and existing buildings w/fossil burning heating unit, machering EXCEPT in S or MF buildings with <20 units; new and remodeled existing S and MF residential homes
MT
NE
NV
NH
NJ | Requires in multiple dwellings, hotels, and boarding homes. References NFPA 720./Buildlings with three or fewer dwelling units added March 2003. One or more on new construction or change of occupancy.
Ft. Lee | All SF, MF, enforced on change of occupancy.
Village of South Orange | All single and multi-family homes and hotels. Every level.
NM
NY | Effective 11/30/02 all newly constructed one-family homes, two-family homes and co-op and condominium apartments must have CO alarms. Existing homes and apartments must have on COO. Only one alarm required. July 2005 bill awaiting governor's signature covers hotels, apartments, dorms with FBA. New immediate. Existing on COO. Note: New York City is under a separate building code.
Albany | New and existing residential buildings EXCEPT SF
Kingston | Each apartment unit, buildings 4+ units, CO-causing heat sources.
Greenburgh | All new buildings.
New York City | Signed May 5, 2004. Effective December 1, 2004. Requires carbon monoxide detectors to be installed in apartments, single-family homes, hotels and schools. One detector within 15 feet of a bedroom or sleeping area. One-time $25 fee may be passed on to tenants. No specification of type of detector. Also required in schools, hospitals. Building/fire/health departments will promulgate rules.
Rockland County | Required on every floor of all one- and two-family homes where bedrooms are located in all residences built or sold after Jan. 1, 2004. requires digital readout and battery backup. Also mutiple dwellings, hotels, motels, rooming houses, and mobile homes.
Suffolk County | Residential units, hotels, motels, one per every 10,000 square feet of floor area on every floor in which a FFBA is located and every floor with sleeping rooms heated by warm air.
Yonkers
NC
Mecklenburg County (Charlotte) | Required in all residences with fossil fuel burning appliances and in child care facilities. (IC)
ND
OH
Brooklyn | New S and MF, enforced COO.
Columbus
Eastlake | All new and "altered" residential units w/ 1+ FF appliance or HU on COO
Lakewood | No battery operated allowed. One per floor. | Required in rental units. Combo unit okay if sealed long life. CO must be hardwired or plug in. COO(IC)
Macedonia | New residential construction
Maple Heights | New residential construction hard-wired with battery backup
Northfield | New residential construction
Parma | New S and M-unit residential and all other new buildings w/central fossil fuel heating. All existing buildings with central FF on COO or occupancy.
Richmond Heights | All new construction and existing public assembly buildings require hard-wired. Existing 1-2 family residences one on every level. Existing MF one in main utility level.
Rossfield
Westfield Center | New and existing residential every level and basement.
Willowick | New residential construction; dwelling units upon COO. All house trailers
OK
OR
PA
RI | Required in new and converted residential occupancy. AC with BBU. Existing, requires separate smoke, CO. May be battery operated. COO. Effective 1/02 (IC);Required in hotels and dormatories hardwired or wireless "installed in accordance with NFPA 720 in every guest room and every living area and sleeping room within a guest suite." Apartments "every building" required to have "hardwired or wireless" "installed in accordance with NFPA 720" by July 1, 2005. Lodging or rooming houses same in "every sleeping room." One, two, and three family dwellings: requires fire and carbon monoside detection system. For 3 family dwellings, interconnected hard-wired or supervised interconnected UL listed wireless smoke and CO detectors" in all by July 1, 2008. Residential board and care, CO detectors by July 1, 2005.
SC
SD
TN
TX | Required in Day Care Centers and certain "family homes" (group homes) effective 9/1/2003
Bellaire | New homes.
UT |  | Apartments, residential, also assisted living and residential board and care. Every habitable level of dwelling unit or sleeping unit with fuel burning appliance. AC/DC new construction except if emergency power system. Interconnected. SmokeCO okay. Ref UL 2034/NFPA 720.
VT | "One or more" in new construction, AC + battery (hardwired NOT required); "one or more" in existing on COO, electric OR battery (or both); CO alarms also required in other residential buildings in which people sleep, including hotels, motels, and tourist homes; All by October 2005 EXCEPT public buildings in which people do not sleep, effective November 2006.
VA
WA
DC
WV | All new residential structures with fuel-burning heating or cooking sources (I)
WI
Brown Deer | One per residence.
WY
CANADA
Ontario |  | Required in all new residences that include FBA or a garage. Original required only w/woodburning. (IC)
Mississauga | Each dwelling unit containing a fuel burning appliance. In multi-Units in dwelling units on same floor as FBA and in service room. (IC)
Toronto | Each dwelling unit containing a fuel burning appliance and for building containing multiple occupancies with certain restrictions.
Quebec |  | All buildings with sleeping accommodations: required if SFBA or attached garage. Wired in, plug in, or battery. Near the attached garage door and in the fuel burning appliance room.
Code Bodies
National Fire Protection Association (NFPA) |  | NFPA 720 Standard for the Installation of Household Carbon Monoxide (CO) Warning Equipment 2004 Edition.
States with Statewide CO requirements