Kidde Residential and Commercial Division

Mebane, NC

Testimony for ICC Technology Committee hearing on CO alarms

Chris Rovenstine,

Vice President of Marketing

and

John Andres,

Vice President of Technology

September 22, 2005

Kidde would like to thank the ICC Code Technology Committee for its consideration to require CO alarm installation in newly constructed residential dwellings.  Kidde is the market leader in the manufacturing and distribution of CO Alarms in the United States.  We appreciate the opportunity to provide testimony in support of this requirement.

In our review of the opposition points made both in 2004 and this year, Kidde would like to respond to the most frequent concerns:

- Reliability, Performance and Standard Changes

- Costs

- New homes vs. old homes

- Effectiveness of state and local ordinances

- The numbers…. fatalities, injuries and lives saved

- Reliability, Performance and Standard Changes

Reliability and performance concerns relating to single station carbon monoxide alarms have been primarily based on a study “Evaluating the Performance of Residential CO Alarms,” published by Mosaic Industries and GRI in 2003 and certain testimony titled “CO Alarm Mandates in Model Codes as Public Policy” by Ted A. Williams. While the GRI report was published in 2003, the CO Alarms tested were manufactured prior to 2000. As with most technologies the CO sensing technology and performance has evolved since this time.

In response to the issues raised regarding the evolution of the UL 2034 standard, the opposition is forgetting that most all UL standards have been revised at one time or another.  In fact, it is the objective of the standards technical panel to continually review these standards in light of new technologies and performance concerns.  An appropriate example of these efforts can be seen through the UL 217 (smoke alarm) standard.  This standard has been revised a number of times and further changes are being discussed even this week.  Specific modifications to the UL 2034 standard that have been ratified include:

- A test requirement to ensure operation at 10% relative humidity.  The motivation for this change stems from GTI (formally GRI) reports and Mosaic criticisms of CO alarm performance at low humidity.  Industry (not GTI or Mosaic) appropriately addressed the concern by following the procedure to amend the standards.  However, once the change was procedurally available for review, both GTI and Mosaic supported it.

- A requirement for long term reliability testing has been in effect since 2003 as part of UL2034.  Again, this was done in response to the criticisms of GTI / Mosaic.  The UL standard requires manufactures to determine usable life, and more recently notify the consumer of device end of life.  A reliability-sampling plan that is based on the usable life is present specifically to address the reliability concerns.  This sampling plan has been implemented per the requirements of GTI / Mosaic (reference GRI report GRI-96/0055)

Kidde has been in compliance with the above requirements for the past 5 years.  The data is available and we are willing to share the specifics.  With respect to the second point above, it is important to note that the data taken has been taken with a CSA representative on site.  There are other changes being made to UL beyond those highlighted.  Please note that Kidde products will not need to be changed to comply with these new requirements.

With respect to the existing evidence on long-term reliability, please review the following:

- Kidde has a long-term reliability test plan that has accumulated several thousand test points on actual CO alarms.  This has been in effect since 2000.  This is 100% in accordance with the CSA 6.19-01 standard.  In no case has a CO alarm failed to alarm per the UL standards.  Kidde has shared this data with other council’s panels and offers it again here.

- Kidde CO sensing technology has been on continuous long term testing for more than 5 years.  An automatic data logger records and stores sensor output.  Underwriter Laboratories periodically audits this test equipment and test method.  The following chart is a graphic representation of 128 sensors currently under test.  As you can see from the graph, stability of the CO sensor is not an issue.  There are no significant fluctuations and the sensor output has remained stable and predictable for more than 5 years.  Again, Kidde invites the ICC to audit the test and / or the results.

- Another element of our quality program that addresses stability includes random testing of off shelf product, Kidde randomly purchases 12 Kidde CO alarms each month.  These alarms are brought into our CO testing laboratory and tested under various CO conditions.  Other than the CO level, no other environmental controls are imposed.  All testing is done at ambient conditions.  This has been ongoing for more than 5 years.  There has never been a failure to detect or alarm to CO per the UL alarm times.  The data is available and we invite anyone from the ICC to audit it.

- As final evidence of reliability, Kidde would like to share the data taken from actual field returns.  Field returns are products that the consumer has returned to the retail store and are subsequently returned to Kidde.  We take these units, which are often in poor condition, and subject them to CO and record the results.  We estimate that over the past 5 years we have accumulated data on over 1,000 units and have never seen a Kidde CO alarm fail to detect CO within the UL prescribed times.  This data is available for audit as well.

- While the opposition includes testimony which would lead this committee to believe that the CPSC may oppose the installation of CO Alarms, a simple visit to the CPSC website would contradict this. Please reference the CPSC press release titled “CPSC Recommends Carbon Monoxide Alarm for Every Home”.

As a final point, Kidde has been addressing CO alarm reliability for several years now.  We want this council to understand the facts.  While we recognize that the opposition has helped bring certain issues to light it’s been the manufacturers who have addressed them.  We continually hear of tests conducted on older units to standards that were invented by the opposition.  This is unfair and not indicative or appreciative of the hard work that has been done to address all of their concerns.  In the past, we have invited the opposition to conduct additional tests.  They say there is no money available for these tests.  We say - we will pay for it!  They say that this approach would bias the results.  We have also offered the equipment and / or the personnel for these tests.  We were again told it would bias the results.  This is a ridiculous and infinite loop of failure.  We respectfully offer our resources again today to prove reliability on CO alarms.  We have grown tired of hearing about data collected on these 7-year-old alarms.

- Costs

Like smoke alarms, CO alarms provide effective protection, especially since you can’t see, taste or smell the danger.  The average retail price is about $30 (ranging from $20 - $50), with recommended replacement after seven years of operation.  That is about $4/year for this invaluable protection, or just a penny a day.  Homebuilders pass costs along to the homebuyer.  With the average new home costing just over $150,000 (according to the National Association of Home Builders), that’s hardly a significant cost, especially since the wholesale cost of the units to builders, apartment owners, etc. is significantly less than retail cost.  With the availability of “talking” combination units on the market today, a builder/electrician can install one unit, cutting labor costs, and giving the homeowner the protection of both a smoke and CO alarm.

- New construction vs. old.

While it is true that new homes are constructed better and “tighter” than in the past, these dwelling units often have fewer air exchanges, which can result in trapping of CO in the home.  Furnaces, clothes dryers, water heaters (both new and old) can malfunction and cause CO poisoning. Chimneys can be blocked by birds’ nest or other debris and cause CO build-up in the home or residential unit.  Heat exchanges can malfunction.  Also, during power outages, space heaters and generators are often used (even in newer homes) presenting a danger that can be avoided by having a CO alarm.  Even if an appliance shuts off, there have been instances where a repairman has bypassed those protections to get a furnace restarted in cold weather and caused deadly CO poisoning.  According to the U.S. Census Bureau in their report Characteristics of New Housing, 2003, 70 percent of single family homes completed in 2003 use natural gas heating, followed by 27 percent that use electric heat, and 2 percent that use heating oil.  And with the more than 61.9 million total US homes using natural gas to fuel stoves, furnaces, water heaters, clothes dryers and other household appliances, a CO alarm is the simplest, easiest and least expensive protection against these dangers.

4) Effectiveness of state and local ordinances

Over the past few years a number of states and cities have passed legislation requiring CO alarms in residential dwellings.  In some cases the legislation has been retroactive to include existing as well as new construction, and in other cases only new construction or at the time of sale or transfer.  Either way, lawmakers and fire service personnel  across the country have become more concerned with this issue and are viewing the use of CO alarms as vital as smoke alarms.

In a letter signed by Chicago’s Fire Commissioner to the Illinois State Legislature the commissioner had the following to say.  “In 1994 the City of Chicago enacted a Carbon Monoxide Detector Ordinance.  The Carbon Monoxide Detector law was passed by the City Council on March 2, 1994 and became effective on October 1, 1994 requiring every residence with appliances that burn fossil fuel to have a working Carbon Monoxide (CO) Detector.  The passage of this ordinance came after the tragic death of an entire family due to CO poisoning.

Life safety is the number one priority for the Chicago Fire Department.  This ordinance demonstrates that, as a city, we continue to take every measure to protect our residents from senseless tragedies.  And while the Chicago Fire Department responses for CO alarms have increased dramatically since the enactment of this law, our incidence of CO related deaths have drastically decreased.  Just as smoke detectors save lives, so do Carbon Monoxide Detectors.”

5) The numbers…fatalities, injuries and lives saved

Consistent statistics of the number of CO incidents that occur each year is difficult to come by, as there is no uniform standard within states let alone across the country for reporting.  The most credible sources (the Centers for Disease Control and the Journal of the American Medical Association) show estimates between 500 and 2,000 accidental CO deaths per year.  The American Association of Poison Control Centers reports 40,000 emergency room visits from suspected CO poisoning and 20,000 health-related injuries each year. Often times, CO poisoning is misdiagnosed as the flu and go unreported altogether.  In fact, most hospitals don’t even include CO poisoning on their coding documents. Often times we get so caught up in arguing about the number of people that die from CO poisoning that we forget about the much larger number of people who’s lives are changed forever from overexposure.

Everyone knows that CO poisoning can lead to death, but what is usually not discussed is the serious health problems for those who survive a severe carbon monoxide poisoning event.  According to the Medical Director for the Illinois Poison Center (the oldest and one of the largest poison centers in the nation), studies indicate that 25 to 40% of severely CO poisoned individuals can develop neuropsychiatric disorders (neuro meaning brain and psychiatric alluding to behavior) after the event.  Affected individuals commonly have memory loss.  More severely affected people will have cognitive defects (difficulty with problem solving, understanding instructions, reading, writing, math skills for example) as well as mood disorders.  Rarely, individuals may develop a Parkinson-like syndrome with uncontrollable tremors.

Now take the hypothetical family of four that is accidentally, severely poisoned and develops neuropsychiatric disorders.  The parents can no longer function at the same level and cannot work in their jobs.  Lost wages, medical costs, disability costs can all be calculated.  In fact, according to the Carbon Monoxide Health and Safety Association the combined medical cost of CO accidents, lost productivity and lost wages amounts to $8.8 billion a year.  Equipping every home with two CO alarms would cut that cost by 93%. But consider the children?  Children who now may develop learning disabilities and behavioral disorder?  The children have lost their potential.  The cost of the lost potential of a child – the potential to be what they were meant to be – is incalculable.

Statements indicating that these incidents are declining seem inconsistent with what we see in the news media everyday.

In addition to the inconsistencies associated with the true number of CO related deaths and injuries there are also inconsistencies on the number of lives that are saved each year as a result of having a CO alarm in their home.  Very rarely do we see news headlines about avoided tragedies, but occasionally life-saving stories do make it into the news and when they do, the impact they can have on other people’s lives is tremendous.  I’d like to take a moment to share one of many letters Kidde has received.

“To Whom it May Concern:

I hope you get a chance to read the newspaper article I have enclosed.  I truly want to extend my deep appreciation to you and your product. It saved my life, and probably the lives of others.  I did buy my family CO alarms for each of their homes.  Six in all, I think because of the article (see attached) other folks bought CO alarms for their homes (too).  I got several calls (and a very nice letter from one of my financial advisers), stating they were going to use my experiences as a “wake-up” call.  My doctor called me Ms. Carbon Monoxide and tells everyone my story.  GOOD!  I want everyone safe.  And how easy, just listen and respond!

Sincerely,

Althea Fay Fletcher

In a presentation by the American Gas Association dated July 25, 2005, an attempt was made to value the life of one person saved by a CO alarm, posing the question about the cost effectiveness of such a mandate or requirement.

It would be hard to imagine having to tell Althea Fay Fletcher that it’s just not cost effective to protect her life with a product that will ultimately cost her only a penny a day.

In conclusion, Kidde believes that it is in the best interest of this committee to recommend that CO Alarms be installed in residential construction.  The decision the ICC makes regarding this particular issue will directly affect people’s lives.  There is no doubt requiring CO alarms will save people’s lives; furthermore, the wrong decision will lead to senseless deaths and injuries that can be prevented.